## Electrometer Data
Sun Nuclear Corporation - PC Electrometer - Log file
.......... New Measurement ..........
Application version: 1.4.2.6
Logging started: 6-10-2024 5:58 pm
PC Electrometer S/N: 225885007
Background compensation: YES, Background values: Input1: 26.751 pA, Input2: 0.125 pA
Input 1: Corrected Quantity Transform (pC/Count): 0.0152984, Laboratory Calibration: 1.0000
Input 2: Corrected Quantity Transform (pC/Count): 0.0158881, Laboratory Calibration: 1.0000
Bias Voltage: 0 V, Beam Type: Automatic
Detector1: none, S/N: none
Detector2: none, S/N: none
Time[s] | Charge1[pC] | Curnt1[pA] | AvgCurnt1[pA] | Charge2[pC] | Curnt2[pA] | AvgCurnt2[pA] | Ratio[%] | NF | Temp[C] | Press[kPa] | Pulses
0.5 | 0.88284 | 1.7657 | na | 0.016913 | 0.033826 | na | 5219.8533 | 1 | 0 | 0 | 0
1 | 1.7045 | 1.6433 | na | -0.013838 | -0.061502 | na | -2671.9233 | 1 | 0 | 0 | 0
1.5 | 2.5414 | 1.6739 | na | -0.028701 | -0.029726 | na | -5631.0462 | 1 | 0 | 0 | 0
2 | 3.409 | 1.7351 | na | 0.0041002 | 0.065603 | na | 2644.8472 | 1 | 0 | 0 | 0
2.5 | 4.2 | 1.5821 | na | 0.0051252 | 0.0020501 | na | 77172.7606 | 1 | 0 | 0 | 0
3 | 5.0523 | 1.7045 | na | 0.037926 | 0.065603 | na | 2598.2075 | 1 | 0 | 0 | 0
3.5 | 5.8739 | 1.6433 | na | 0.05484 | 0.033826 | na | 4858.0424 | 1 | 0 | 0 | 0
4 | 6.6956 | 1.6433 | na | 0.039977 | -0.029726 | na | -5528.1172 | 1 | 0 | 0 | 0
4.5 | 7.5784 | 1.7657 | na | 0.072778 | 0.065603 | na | 2691.4868 | 1 | 0 | 0 | 0
5 | 8.4307 | 1.7045 | na | 0.057915 | -0.029726 | na | -5733.9751 | 1 | 0 | 0 | 0
5.5 | 9.3288 | 1.7963 | na | 0.011275 | -0.093279 | na | -1925.7154 | 1 | 0 | 0 | 0
6 | 10.2575 | 1.8575 | na | 0.0123 | 0.0020501 | na | 90604.9879 | 1 | 0 | 0 | 0
6.5 | 11.0486 | 1.5821 | na | 0.029214 | 0.033826 | na | 4677.137 | 1 | 0 | 0 | 0
7 | 11.9314 | 1.7657 | na | 0.014351 | -0.029726 | na | -5939.833 | 1 | 0 | 0 | 0
7.5 | 12.799 | 1.7351 | na | 0.015376 | 0.0020501 | na | 84635.1091 | 1 | 0 | 0 | 0
8 | 13.7124 | 1.8269 | na | 0.016401 | 0.0020501 | na | 89112.5182 | 1 | 0 | 0 | 0
8.5 | 14.6412 | 1.8575 | na | -0.014351 | -0.061502 | na | -3020.1663 | 1 | 0 | 0 | 0
9 | 15.524 | 1.7657 | na | 0.034339 | 0.097379 | na | 1813.2122 | 1 | 0 | 0 | 0
9.5 | 16.4374 | 1.8269 | na | 0.019476 | -0.029726 | na | -6145.6909 | 1 | 0 | 0 | 0
10 | 17.3815 | 1.8881 | na | 0.068165 | 0.097379 | na | 1938.8938 | 1 | 0 | 0 | 0
10.5 | 18.2337 | 1.7045 | na | 0.06919 | 0.0020501 | na | 83142.6394 | 1 | 0 | 0 | 0
11 | 19.1778 | 1.8881 | na | 0.038439 | -0.061502 | na | -3069.9153 | 1 | 0 | 0 | 0
11.5 | 20.1065 | 1.8575 | na | 0.023576 | -0.029726 | na | -6248.6199 | 1 | 0 | 0 | 0
12 | 20.9893 | 1.7657 | na | 0.056377 | 0.065603 | na | 2691.4868 | 1 | 0 | 0 | 0
12.5 | 21.8263 | 1.6739 | na | 0.041514 | -0.029726 | na | -5631.0462 | 1 | 0 | 0 | 0
13 | 22.7091 | 1.7657 | na | 0.042539 | 0.0020501 | na | 86127.5788 | 1 | 0 | 0 | 0
13.5 | 23.5614 | 1.7045 | na | 0.011788 | -0.061502 | na | -2771.4213 | 1 | 0 | 0 | 0
14 | 24.3677 | 1.6127 | na | 0.076366 | 0.12916 | na | 1248.6544 | 1 | 0 | 0 | 0
14.5 | 25.22 | 1.7045 | na | 0.061502 | -0.029726 | na | -5733.9751 | 1 | 0 | 0 | 0
15 | 25.9804 | 1.5209 | na | 0.046639 | -0.029726 | na | -5116.4015 | 1 | 0 | 0 | 0
15.5 | 26.6797 | 1.3985 | na | 0.047664 | 0.0020501 | na | 68217.9424 | 1 | 0 | 0 | 0
16 | 27.6409 | 1.9225 | na | 0.048689 | 0.0020501 | na | 93775.8136 | 1 | 0 | 0 | 0
16.5 | 28.6309 | 1.9799 | na | 0.081491 | 0.065603 | na | 3017.9646 | 1 | 0 | 0 | 0
17 | 29.5443 | 1.8269 | na | 0.05074 | -0.061502 | na | -2970.4173 | 1 | 0 | 0 | 0
17.5 | 30.4271 | 1.7657 | na | 0.019988 | -0.061502 | na | -2870.9193 | 1 | 0 | 0 | 0
18 | 31.2182 | 1.5821 | na | 0.05279 | 0.065603 | na | 2411.6488 | 1 | 0 | 0 | 0
18.5 | 32.0398 | 1.6433 | na | 0.053815 | 0.0020501 | na | 80157.7 | 1 | 0 | 0 | 0
19 | 32.8462 | 1.6127 | na | 0.05484 | 0.0020501 | na | 78665.2303 | 1 | 0 | 0 | 0
19.5 | 33.8208 | 1.9493 | na | 0.055865 | 0.0020501 | na | 95082.3971 | 1 | 0 | 0 | 0
20 | 34.6731 | 1.7045 | na | 0.025113 | -0.061502 | na | -2771.4213 | 1 | 0 | 0 | 0
20.5 | 35.5712 | 1.7963 | na | 0.01025 | -0.029726 | na | -6042.762 | 1 | 0 | 0 | 0
21 | 36.4541 | 1.7657 | na | 0.05894 | 0.097379 | na | 1813.2122 | 1 | 0 | 0 | 0
21.5 | 37.291 | 1.6739 | na | 0.0123 | -0.093279 | na | -1794.5092 | 1 | 0 | 0 | 0
22 | 38.1585 | 1.7351 | na | 0.076878 | 0.12916 | na | 1343.4144 | 1 | 0 | 0 | 0
22.5 | 39.1332 | 1.9493 | na | 0.046127 | -0.061502 | na | -3169.4132 | 1 | 0 | 0 | 0
23 | 39.9242 | 1.5821 | na | 0.015376 | -0.061502 | na | -2572.4254 | 1 | 0 | 0 | 0
23.5 | 40.7459 | 1.6433 | na | 0.064065 | 0.097379 | na | 1687.5305 | 1 | 0 | 0 | 0
24 | 41.6287 | 1.7657 | na | 0.06509 | 0.0020501 | na | 86127.5788 | 1 | 0 | 0 | 0
24.5 | 42.4963 | 1.7351 | na | 0.066115 | 0.0020501 | na | 84635.1091 | 1 | 0 | 0 | 0
25 | 43.425 | 1.8575 | na | 0.06714 | 0.0020501 | na | 90604.9879 | 1 | 0 | 0 | 0
25.5 | 44.2467 | 1.6433 | na | 0.020501 | -0.093279 | na | -1761.7077 | 1 | 0 | 0 | 0
26 | 45.0683 | 1.6433 | na | 0.085078 | 0.12916 | na | 1272.3444 | 1 | 0 | 0 | 0
26.5 | 45.9511 | 1.7657 | na | 0.022551 | -0.12505 | na | -1411.9275 | 1 | 0 | 0 | 0
27 | 46.9411 | 1.9799 | na | 0.087128 | 0.12916 | na | 1532.9344 | 1 | 0 | 0 | 0
27.5 | 47.8392 | 1.7963 | na | 0.040489 | -0.093279 | na | -1925.7154 | 1 | 0 | 0 | 0
28 | 48.5538 | 1.4291 | na | 0.07329 | 0.065603 | na | 2178.4504 | 1 | 0 | 0 | 0
28.5 | 49.4366 | 1.7657 | na | 0.042539 | -0.061502 | na | -2870.9193 | 1 | 0 | 0 | 0
29 | 50.2583 | 1.6433 | na | 0.043564 | 0.0020501 | na | 80157.7 | 1 | 0 | 0 | 0
29.5 | 51.1105 | 1.7045 | na | 0.076366 | 0.065603 | na | 2598.2075 | 1 | 0 | 0 | 0
30 | 51.9781 | 1.7351 | na | 0.045614 | -0.061502 | na | -2821.1703 | 1 | 0 | 0 | 0
30.5 | 52.8303 | 1.7045 | na | 0.078416 | 0.065603 | na | 2598.2075 | 1 | 0 | 0 | 0
31 | 53.6061 | 1.5515 | na | 0.063553 | -0.029726 | na | -5219.3304 | 1 | 0 | 0 | 0
31.5 | 54.4583 | 1.7045 | na | 0.096354 | 0.065603 | na | 2598.2075 | 1 | 0 | 0 | 0
32 | 55.1576 | 1.3985 | na | 0.097379 | 0.0020501 | na | 68217.9424 | 1 | 0 | 0 | 0
32.5 | 55.918 | 1.5209 | na | 0.05074 | -0.093279 | na | -1630.5016 | 1 | 0 | 0 | 0
33 | 56.5867 | 1.3373 | na | 0.067653 | 0.033826 | na | 3953.5153 | 1 | 0 | 0 | 0
33.5 | 57.7624 | 2.3514 | na | 0.05279 | -0.029726 | na | -7910.034 | 1 | 0 | 0 | 0
34 | 58.6452 | 1.7657 | na | 0.10148 | 0.097379 | na | 1813.2122 | 1 | 0 | 0 | 0
34.5 | 59.5433 | 1.7963 | na | 0.086616 | -0.029726 | na | -6042.762 | 1 | 0 | 0 | 0
35 | 60.3956 | 1.7045 | na | 0.055865 | -0.061502 | na | -2771.4213 | 1 | 0 | 0 | 0
35.5 | 61.3396 | 1.8881 | na | 0.088666 | 0.065603 | na | 2878.0456 | 1 | 0 | 0 | 0
36 | 62.1766 | 1.6739 | na | 0.10558 | 0.033826 | na | 4948.4951 | 1 | 0 | 0 | 0
36.5 | 63.0288 | 1.7045 | na | 0.05894 | -0.093279 | na | -1827.3108 | 1 | 0 | 0 | 0
37 | 63.927 | 1.7963 | na | 0.10763 | 0.097379 | na | 1844.6326 | 1 | 0 | 0 | 0
37.5 | 64.7792 | 1.7045 | na | 0.076878 | -0.061502 | na | -2771.4213 | 1 | 0 | 0 | 0
38 | 65.6162 | 1.6739 | na | 0.062015 | -0.029726 | na | -5631.0462 | 1 | 0 | 0 | 0
38.5 | 66.3613 | 1.4903 | na | 0.094816 | 0.065603 | na | 2271.7297 | 1 | 0 | 0 | 0
39 | 67.29 | 1.8575 | na | 0.11173 | 0.033826 | na | 5491.2114 | 1 | 0 | 0 | 0
39.5 | 68.0505 | 1.5209 | na | 0.06509 | -0.093279 | na | -1630.5016 | 1 | 0 | 0 | 0
40 | 68.7957 | 1.4903 | na | 0.082003 | 0.033826 | na | 4405.7789 | 1 | 0 | 0 | 0
40.5 | 69.6173 | 1.6433 | na | 0.13069 | 0.097379 | na | 1687.5305 | 1 | 0 | 0 | 0
41 | 70.3625 | 1.4903 | na | 0.099941 | -0.061502 | na | -2423.1784 | 1 | 0 | 0 | 0
41.5 | 70.8475 | 0.97017 | na | 0.085078 | -0.029726 | na | -3263.6805 | 1 | 0 | 0 | 0
42 | 71.042 | 0.38883 | na | 0.070215 | -0.029726 | na | -1308.0305 | 1 | 0 | 0 | 0
42.5 | 70.7162 | -0.65147 | na | 0.087128 | 0.033826 | na | -1925.9108 | 1 | 0 | 0 | 0
43 | 69.289 | -2.8544 | na | 0.088153 | 0.0020501 | na | -139235.3464 | 1 | 0 | 0 | 0
43.5 | 67.204 | -4.1701 | na | 0.057402 | -0.061502 | na | 6780.3848 | 1 | 0 | 0 | 0
44 | 58.5559 | -17.2961 | na | 0.13787 | 0.16093 | na | -10747.5293 | 1 | 0 | 0 | 0
44.5 | 36.384 | -44.3437 | na | 0.13889 | 0.0020501 | na | -2163024.264 | 1 | 0 | 0 | 0
45 | 14.4416 | -43.8848 | na | 0.044589 | -0.18861 | na | 23267.7959 | 1 | 0 | 0 | 0
45.5 | -8.6941 | -46.2713 | na | 0.093279 | 0.097379 | na | -47516.8391 | 1 | 0 | 0 | 0
46 | -30.7588 | -44.1296 | na | 0.078416 | -0.029726 | na | 148453.5846 | 1 | 0 | 0 | 0
46.5 | -52.2117 | -42.9057 | na | 0.079441 | 0.0020501 | na | -2092878.1879 | 1 | 0 | 0 | 0
47 | -74.1235 | -43.8236 | na | 0.096354 | 0.033826 | na | -129554.6836 | 1 | 0 | 0 | 0
47.5 | -96.4177 | -44.5885 | na | 0.097379 | 0.0020501 | na | -2174964.0216 | 1 | 0 | 0 | 0
48 | -119.0792 | -45.3228 | na | 0.082516 | -0.029726 | na | 152467.8134 | 1 | 0 | 0 | 0
48.5 | -141.7865 | -45.4146 | na | 0.099429 | 0.033826 | na | -134258.2245 | 1 | 0 | 0 | 0
49 | -164.1113 | -44.6497 | na | 0.084566 | -0.029726 | na | 150203.3766 | 1 | 0 | 0 | 0
49.5 | -186.2679 | -44.3131 | na | 0.085591 | 0.0020501 | na | -2161531.7943 | 1 | 0 | 0 | 0
50 | -199.5361 | -26.5364 | na | 0.05484 | -0.061502 | na | 43146.8966 | 1 | 0 | 0 | 0
50.5 | -202.0342 | -4.9962 | na | 0.087641 | 0.065603 | na | -7615.882 | 1 | 0 | 0 | 0
51 | -204.0122 | -3.9559 | na | 0.10455 | 0.033826 | na | -11694.8034 | 1 | 0 | 0 | 0
51.5 | -206.1125 | -4.2007 | na | 0.15324 | 0.097379 | na | -4313.7687 | 1 | 0 | 0 | 0
52 | -208.8554 | -5.4858 | na | 0.090716 | -0.12505 | na | 4386.6843 | 1 | 0 | 0 | 0
52.5 | -223.8523 | -29.9938 | na | 0.10763 | 0.033826 | na | -88670.059 | 1 | 0 | 0 | 0
53 | -252.6484 | -57.5922 | na | 0.076878 | -0.061502 | na | 93642.1215 | 1 | 0 | 0 | 0
53.5 | -280.9703 | -56.6437 | na | 0.093791 | 0.033826 | na | -167454.3688 | 1 | 0 | 0 | 0
54 | -310.1947 | -58.4489 | na | 0.031264 | -0.12505 | na | 46738.5704 | 1 | 0 | 0 | 0
54.5 | -339.5721 | -58.7549 | na | 0.079953 | 0.097379 | na | -60336.3683 | 1 | 0 | 0 | 0
55 | -368.766 | -58.3877 | na | 0.06509 | -0.029726 | na | 196418.4729 | 1 | 0 | 0 | 0
55.5 | -396.7818 | -56.0317 | na | 0.066115 | 0.0020501 | na | -2733147.6906 | 1 | 0 | 0 | 0
56 | -425.5779 | -57.5922 | na | 0.098916 | 0.065603 | na | -87789.4889 | 1 | 0 | 0 | 0
56.5 | -453.8998 | -56.6437 | na | 0.084053 | -0.029726 | na | 190551.5231 | 1 | 0 | 0 | 0
57 | -482.6806 | -57.5616 | na | 0.13274 | 0.097379 | na | -59110.9721 | 1 | 0 | 0 | 0
57.5 | -510.6658 | -55.9705 | na | 0.086103 | -0.093279 | na | 60003.5769 | 1 | 0 | 0 | 0
58 | -538.8806 | -56.4295 | na | 0.13479 | 0.097379 | na | -57948.4168 | 1 | 0 | 0 | 0
58.5 | -548.8596 | -19.9581 | na | 0.10404 | -0.061502 | na | 32450.8637 | 1 | 0 | 0 | 0
59 | -551.679 | -5.6387 | na | 0.10507 | 0.0020501 | na | -275050.0894 | 1 | 0 | 0 | 0
59.5 | -553.8711 | -4.3843 | na | 0.12198 | 0.033826 | na | -12961.1413 | 1 | 0 | 0 | 0
60 | -556.5528 | -5.3634 | na | 0.10712 | -0.029726 | na | 18042.6112 | 1 | 0 | 0 | 0
60.5 | -559.6782 | -6.2507 | na | 0.10814 | 0.0020501 | na | -304899.4834 | 1 | 0 | 0 | 0
61 | -586.7302 | -54.1041 | na | 0.093279 | -0.029726 | na | 182008.4206 | 1 | 0 | 0 | 0
61.5 | -624.7513 | -76.0421 | na | 0.14197 | 0.097379 | na | -78088.9027 | 1 | 0 | 0 | 0
62 | -662.4663 | -75.4301 | na | 0.079441 | -0.12505 | na | 60317.5981 | 1 | 0 | 0 | 0
62.5 | -699.6306 | -74.3286 | na | 0.14402 | 0.12916 | na | -57549.9139 | 1 | 0 | 0 | 0
63 | -737.8353 | -76.4092 | na | 0.14504 | 0.0020501 | na | -3727132.513 | 1 | 0 | 0 | 0
63.5 | -775.5656 | -75.4607 | na | 0.098404 | -0.093279 | na | 80898.1528 | 1 | 0 | 0 | 0
64 | -814.2445 | -77.3577 | na | 0.083541 | -0.029726 | na | 260234.4189 | 1 | 0 | 0 | 0
64.5 | -851.1793 | -73.8697 | na | 0.068678 | -0.029726 | na | 248500.5191 | 1 | 0 | 0 | 0
65 | -889.7358 | -77.113 | na | 0.069703 | 0.0020501 | na | -3761459.3161 | 1 | 0 | 0 | 0
65.5 | -928.9195 | -78.3674 | na | 0.070728 | 0.0020501 | na | -3822650.574 | 1 | 0 | 0 | 0
66 | -966.7723 | -75.7055 | na | 0.11942 | 0.097379 | na | -77743.2781 | 1 | 0 | 0 | 0
66.5 | -1004.1355 | -74.7264 | na | 0.12044 | 0.0020501 | na | -3645046.6793 | 1 | 0 | 0 | 0
67 | -1011.5597 | -14.8484 | na | 0.073803 | -0.093279 | na | 15918.318 | 1 | 0 | 0 | 0
67.5 | -1014.2261 | -5.3328 | na | 0.12249 | 0.097379 | na | -5476.324 | 1 | 0 | 0 | 0
68 | -1016.7701 | -5.088 | na | 0.075853 | -0.093279 | na | 5454.6293 | 1 | 0 | 0 | 0
68.5 | -1019.7577 | -5.9753 | na | 0.12454 | 0.097379 | na | -6136.1528 | 1 | 0 | 0 | 0
69 | -1024.2446 | -8.9738 | na | 0.077903 | -0.093279 | na | 9620.4239 | 1 | 0 | 0 | 0
69.5 | -1070.4809 | -92.4726 | na | 0.12659 | 0.097379 | na | -94961.6654 | 1 | 0 | 0 | 0
70 | -1126.7071 | -112.4523 | na | 0.11173 | -0.029726 | na | 378293.9189 | 1 | 0 | 0 | 0
70.5 | -1182.4743 | -111.5344 | na | 0.12864 | 0.033826 | na | -329726.5292 | 1 | 0 | 0 | 0
71 | -1239.7322 | -114.5158 | na | 0.082003 | -0.093279 | na | 122767.4101 | 1 | 0 | 0 | 0
71.5 | -1295.9583 | -112.4523 | na | 0.1148 | 0.065603 | na | -171414.432 | 1 | 0 | 0 | 0
72 | -1352.3069 | -112.6971 | na | 0.068165 | -0.093279 | na | 120817.6172 | 1 | 0 | 0 | 0
72.5 | -1407.355 | -110.0963 | na | 0.11685 | 0.097379 | na | -113059.8243 | 1 | 0 | 0 | 0
73 | -1463.8719 | -113.0336 | na | 0.086103 | -0.061502 | na | 183787.2916 | 1 | 0 | 0 | 0
73.5 | -1521.0465 | -114.3493 | na | 0.07124 | -0.029726 | na | 384675.5134 | 1 | 0 | 0 | 0
74 | -1575.7581 | -109.4232 | na | 0.072265 | 0.0020501 | na | -5337507.3227 | 1 | 0 | 0 | 0
74.5 | -1631.969 | -112.4217 | na | 0.12095 | 0.097379 | na | -115447.7759 | 1 | 0 | 0 | 0
75 | -1679.7963 | -95.6546 | na | 0.12198 | 0.0020501 | na | -4665895.9563 | 1 | 0 | 0 | 0
75.5 | -1684.8951 | -10.1977 | na | 0.10712 | -0.029726 | na | 34305.3845 | 1 | 0 | 0 | 0
76 | -1687.791 | -5.7917 | na | 0.12403 | 0.033826 | na | -17121.9659 | 1 | 0 | 0 | 0
76.5 | -1690.7175 | -5.8529 | na | 0.10917 | -0.029726 | na | 19689.4743 | 1 | 0 | 0 | 0
77 | -1694.1488 | -6.8626 | na | 0.11019 | 0.0020501 | na | -334748.8775 | 1 | 0 | 0 | 0
77.5 | -1703.4394 | -18.5812 | na | 0.14299 | 0.065603 | na | -28323.8992 | 1 | 0 | 0 | 0
78 | -1792.5112 | -178.1437 | na | 0.096354 | -0.093279 | na | 190980.094 | 1 | 0 | 0 | 0
78.5 | -1885.3618 | -185.7011 | na | 0.12916 | 0.065603 | na | -283069.8217 | 1 | 0 | 0 | 0
79 | -1979.0124 | -187.3012 | na | 0.098404 | -0.061502 | na | 304542.8539 | 1 | 0 | 0 | 0
79.5 | -2072.4596 | -186.8944 | na | 0.11532 | 0.033826 | na | -552511.5522 | 1 | 0 | 0 | 0
80 | -2167.146 | -189.3727 | na | 0.13223 | 0.033826 | na | -559838.2217 | 1 | 0 | 0 | 0
80.5 | -2260.8227 | -187.3534 | na | 0.085591 | -0.093279 | na | 200853.3551 | 1 | 0 | 0 | 0
81 | -2354.9583 | -188.2713 | na | 0.11839 | 0.065603 | na | -286987.5546 | 1 | 0 | 0 | 0
81.5 | -2449.0786 | -188.2407 | na | 0.11942 | 0.0020501 | na | -9182109.2783 | 1 | 0 | 0 | 0
82 | -2545.134 | -192.1107 | na | 0.16811 | 0.097379 | na | -197281.7869 | 1 | 0 | 0 | 0
82.5 | -2638.0763 | -185.8847 | na | 0.13736 | -0.061502 | na | 302239.637 | 1 | 0 | 0 | 0
83 | -2733.1605 | -190.1683 | na | 0.1066 | -0.061502 | na | 309204.4957 | 1 | 0 | 0 | 0
83.5 | -2793.5631 | -120.8052 | na | 0.15529 | 0.097379 | na | -124056.9695 | 1 | 0 | 0 | 0
84 | -2797.8511 | -8.576 | na | 0.12454 | -0.061502 | na | 13944.2394 | 1 | 0 | 0 | 0
84.5 | -2801.0835 | -6.4649 | na | 0.10968 | -0.029726 | na | 21748.0532 | 1 | 0 | 0 | 0
85 | -2804.5455 | -6.9238 | na | 0.14248 | 0.065603 | na | -10554.1818 | 1 | 0 | 0 | 0
85.5 | -2808.298 | -7.5052 | na | 0.11173 | -0.061502 | na | 12203.0247 | 1 | 0 | 0 | 0
86 | -2843.4583 | -70.3205 | na | 0.096866 | -0.029726 | na | 236560.7615 | 1 | 0 | 0 | 0
86.5 | -3017.727 | -348.5375 | na | 0.097891 | 0.0020501 | na | -17001158.0536 | 1 | 0 | 0 | 0
87 | -3193.2306 | -351.0072 | na | 0.16247 | 0.12916 | na | -271771.8432 | 1 | 0 | 0 | 0
87.5 | -3365.5105 | -344.5599 | na | 0.099941 | -0.12505 | na | 275526.8359 | 1 | 0 | 0 | 0
88 | -3537.5151 | -344.0092 | na | 0.16452 | 0.12916 | na | -266353.5323 | 1 | 0 | 0 | 0
88.5 | -3710.4761 | -345.922 | na | 0.13377 | -0.061502 | na | 562452.6164 | 1 | 0 | 0 | 0
89 | -3884.0717 | -347.1912 | na | 0.18246 | 0.097379 | na | -356536.6187 | 1 | 0 | 0 | 0
89.5 | -4056.6424 | -345.1412 | na | 0.18348 | 0.0020501 | na | -16835493.9165 | 1 | 0 | 0 | 0
90 | -4229.6646 | -346.0445 | na | 0.13684 | -0.093279 | na | 370979.2427 | 1 | 0 | 0 | 0
90.5 | -4404.1475 | -348.9658 | na | 0.13787 | 0.0020501 | na | -17022052.6294 | 1 | 0 | 0 | 0
91 | -4576.4428 | -344.5905 | na | 0.123 | -0.029726 | na | 1159215.825 | 1 | 0 | 0 | 0
91.5 | -4751.0886 | -349.2917 | na | 0.15581 | 0.065603 | na | -532435.8563 | 1 | 0 | 0 | 0
92 | -4822.0013 | -141.8253 | na | 0.12505 | -0.061502 | na | 230601.0913 | 1 | 0 | 0 | 0
92.5 | -4826.0904 | -8.1783 | na | 0.18963 | 0.12916 | na | -6332.144 | 1 | 0 | 0 | 0
93 | -4829.3228 | -6.4649 | na | 0.14299 | -0.093279 | na | 6930.6983 | 1 | 0 | 0 | 0
93.5 | -4833.0295 | -7.4134 | na | 0.12813 | -0.029726 | na | 24938.8505 | 1 | 0 | 0 | 0
94 | -4837.2717 | -8.4843 | na | 0.12916 | 0.0020501 | na | -413849.7718 | 1 | 0 | 0 | 0
94.5 | -4962.9832 | -251.4231 | na | 0.098404 | -0.061502 | na | 408801.9738 | 1 | 0 | 0 | 0
95.0007 | -5285.4084 | -643.9489 | na | 0.099341 | 0.0018724 | na | -34391949.4534 | 1 | 0 | 0 | 0
95.5007 | -5605.1498 | -639.4828 | na | 0.11625 | 0.033826 | na | -1890488.028 | 1 | 0 | 0 | 0
96.0007 | -5924.8457 | -639.3918 | na | 0.14906 | 0.065603 | na | -974644.2592 | 1 | 0 | 0 | 0
96.5007 | -6243.8987 | -638.1059 | na | 0.1183 | -0.061502 | na | 1037529.7108 | 1 | 0 | 0 | 0
97.0007 | -6565.2489 | -642.7003 | na | 0.13522 | 0.033826 | na | -1899999.7987 | 1 | 0 | 0 | 0
97.5007 | -6885.9097 | -641.3218 | na | 0.12035 | -0.029726 | na | 2157431.3691 | 1 | 0 | 0 | 0
98.0007 | -7207.441 | -643.0626 | na | 0.13727 | 0.033826 | na | -1901070.995 | 1 | 0 | 0 | 0
98.5007 | -7528.1019 | -641.3218 | na | 0.1224 | -0.029726 | na | 2157431.3691 | 1 | 0 | 0 | 0
99.0007 | -7848.0575 | -639.9111 | na | 0.17109 | 0.097379 | na | -657135.7271 | 1 | 0 | 0 | 0
99.5007 | -8168.0291 | -639.9433 | na | 0.15623 | -0.029726 | na | 2152794.0017 | 1 | 0 | 0 | 0
100.0007 | -8489.5171 | -642.976 | na | 0.12548 | -0.061502 | na | 1045448.1681 | 1 | 0 | 0 | 0
100.5007 | -8553.9126 | -128.791 | na | 0.1265 | 0.0020501 | na | -6282240.6449 | 1 | 0 | 0 | 0
101.0007 | -8558.2006 | -8.576 | na | 0.11164 | -0.029726 | na | 28850.1504 | 1 | 0 | 0 | 0
101.5007 | -8562.2439 | -8.0865 | na | 0.16033 | 0.097379 | na | -8304.1614 | 1 | 0 | 0 | 0
102.0007 | -8566.0118 | -7.5358 | na | 0.16136 | 0.0020501 | na | -367583.211 | 1 | 0 | 0 | 0
102.5007 | -8571.5849 | -11.1462 | na | 0.098829 | -0.12505 | na | 8913.0268 | 1 | 0 | 0 | 0
103.0007 | -8905.8904 | -668.611 | na | 0.11574 | 0.033826 | na | -1976599.0072 | 1 | 0 | 0 | 0
103.5007 | -9467.3925 | -1123.0043 | na | 0.13266 | 0.033826 | na | -3319911.2499 | 1 | 0 | 0 | 0
104.0007 | -10027.1026 | -1119.4203 | na | 0.11779 | -0.029726 | na | 3765773.425 | 1 | 0 | 0 | 0
104.5007 | -10586.5218 | -1118.8383 | na | 0.13471 | 0.033826 | na | -3307595.3739 | 1 | 0 | 0 | 0
105.0007 | -11143.3983 | -1113.7531 | na | 0.19928 | 0.12916 | na | -862337.7149 | 1 | 0 | 0 | 0
105.5007 | -11703.0931 | -1119.3897 | na | 0.13676 | -0.12505 | na | 895118.3672 | 1 | 0 | 0 | 0
106.0007 | -12260.613 | -1115.0397 | na | 0.16956 | 0.065603 | na | -1699688.5962 | 1 | 0 | 0 | 0
106.5007 | -12820.7673 | -1120.3087 | na | 0.15469 | -0.029726 | na | 3768761.9506 | 1 | 0 | 0 | 0
107.0007 | -13380.6153 | -1119.696 | na | 0.15572 | 0.0020501 | na | -54617163.0275 | 1 | 0 | 0 | 0
107.5007 | -13940.3561 | -1119.4816 | na | 0.15674 | 0.0020501 | na | -54606703.1877 | 1 | 0 | 0 | 0
108.0007 | -14499.8978 | -1119.0833 | na | 0.18954 | 0.065603 | na | -1705852.4303 | 1 | 0 | 0 | 0
108.5007 | -15034.2259 | -1068.6562 | na | 0.17468 | -0.029726 | na | 3595001.163 | 1 | 0 | 0 | 0
109.0007 | -15055.6787 | -42.9057 | na | 0.15982 | -0.029726 | na | 144336.4268 | 1 | 0 | 0 | 0
109.5007 | -15060.5328 | -9.7081 | na | 0.16084 | 0.0020501 | na | -473548.5599 | 1 | 0 | 0 | 0
110.0007 | -15064.9738 | -8.882 | na | 0.14598 | -0.029726 | na | 29879.4399 | 1 | 0 | 0 | 0
110.5007 | -15069.6902 | -9.4328 | na | 0.14701 | 0.0020501 | na | -460116.3326 | 1 | 0 | 0 | 0
111.0007 | -15078.3535 | -17.3267 | na | 0.13214 | -0.029726 | na | 58287.8287 | 1 | 0 | 0 | 0
111.5007 | -15788.6125 | -1420.5179 | na | 0.16494 | 0.065603 | na | -2165338.2471 | 1 | 0 | 0 | 4
112.0007 | -16672.783 | -1768.3411 | na | 0.16597 | 0.0020501 | na | -86257139.2977 | 1 | 0 | 0 | 7
112.5007 | -17556.1525 | -1766.7388 | na | 0.15111 | -0.029726 | na | 5943378.0884 | 1 | 0 | 0 | 11
113.0007 | -18439.8936 | -1767.4823 | na | 0.16802 | 0.033826 | na | -5225166.6431 | 1 | 0 | 0 | 14
113.5007 | -19327.7599 | -1775.7327 | na | 0.20082 | 0.065603 | na | -2706802.8068 | 1 | 0 | 0 | 22
114.0007 | -20212.6819 | -1769.8439 | na | 0.18596 | -0.029726 | na | 5953823.8793 | 1 | 0 | 0 | 27
114.5007 | -21100.7936 | -1776.2234 | na | 0.17109 | -0.029726 | na | 5975284.6056 | 1 | 0 | 0 | 30
115.0007 | -21984.0252 | -1766.4631 | na | 0.15623 | -0.029726 | na | 5942450.615 | 1 | 0 | 0 | 33
115.5007 | -22870.4653 | -1772.8803 | na | 0.12548 | -0.061502 | na | 2882618.5405 | 1 | 0 | 0 | 38
116.0007 | -23753.8998 | -1766.8689 | na | 0.15828 | 0.065603 | na | -2693291.5127 | 1 | 0 | 0 | 39
116.5007 | -24642.3642 | -1776.9288 | na | 0.14342 | -0.029726 | na | 5977657.6667 | 1 | 0 | 0 | 43
117.0007 | -25335.8972 | -1387.066 | na | 0.12856 | -0.029726 | na | 4666144.0626 | 1 | 0 | 0 | 47
117.5007 | -25344.6218 | -17.4491 | na | 0.19313 | 0.12916 | na | -13510.2126 | 1 | 0 | 0 | 47
118.0007 | -25349.2311 | -9.2186 | na | 0.16238 | -0.061502 | na | 14988.9682 | 1 | 0 | 0 | 47
118.5007 | -25354.0545 | -9.6469 | na | 0.14752 | -0.029726 | na | 32452.6635 | 1 | 0 | 0 | 47
119.0007 | -25358.9698 | -9.8305 | na | 0.18032 | 0.065603 | na | -14984.9512 | 1 | 0 | 0 | 47
119.5007 | -25415.7467 | -113.5538 | na | 0.16546 | -0.029726 | na | 381999.3609 | 1 | 0 | 0 | 47
120.0014 | -26646.0067 | -2457.0801 | na | 0.15051 | -0.029859 | na | 8228820.0889 | 1 | 0 | 0 | 348
120.5028 | -27912.3293 | -2525.5737 | na | 0.19902 | 0.096758 | na | -2610202.6039 | 1 | 0 | 0 | 680
121.0028 | -29166.7128 | -2508.7668 | na | 0.16827 | -0.061502 | na | 4079134.8148 | 1 | 0 | 0 | 1014
121.5029 | -30418.0259 | -2502.1259 | na | 0.18517 | 0.033795 | na | -7403930.2129 | 1 | 0 | 0 | 1342
122.0029 | -31674.4975 | -2512.9431 | na | 0.18619 | 0.0020501 | na | -122577753.676 | 1 | 0 | 0 | 1679
122.5041 | -32933.0564 | -2511.0912 | na | 0.15529 | -0.061655 | na | 4072837.6863 | 1 | 0 | 0 | 2013
123.005 | -34187.5172 | -2504.4138 | na | 0.17209 | 0.033541 | na | -7466754.4415 | 1 | 0 | 0 | 2333
123.5052 | -35444.1692 | -2512.2989 | na | 0.15721 | -0.029764 | na | 8440648.2834 | 1 | 0 | 0 | 2665
124.0062 | -36710.3466 | -2527.3002 | na | 0.15811 | 0.0017964 | na | -140688647.9844 | 1 | 0 | 0 | 3004
124.5066 | -37969.5636 | -2516.421 | na | 0.19086 | 0.06545 | na | -3844788.2668 | 1 | 0 | 0 | 3337
125.0067 | -39227.127 | -2514.6239 | na | 0.11243 | -0.15682 | na | 1603460.2999 | 1 | 0 | 0 | 3682
125.5067 | -39974.2535 | -1494.253 | na | 0.17701 | 0.12916 | na | -1156944.6748 | 1 | 0 | 0 | 3843
126.0067 | -39981.2341 | -13.9611 | na | 0.13037 | -0.093279 | na | 14967.0736 | 1 | 0 | 0 | 3843
126.5067 | -39986.6083 | -10.7484 | na | 0.14728 | 0.033826 | na | -31775.3048 | 1 | 0 | 0 | 3843
127.0067 | -39991.6153 | -10.0141 | na | 0.18008 | 0.065603 | na | -15264.7893 | 1 | 0 | 0 | 3843
127.5067 | -39997.2343 | -11.238 | na | 0.14933 | -0.061502 | na | 18272.4015 | 1 | 0 | 0 | 3843
128.0071 | -40373.4215 | -751.773 | na | 0.13442 | -0.029802 | na | 2522527.1998 | 1 | 0 | 0 | 3922
128.508 | -41986.5883 | -3220.5367 | na | 0.18299 | 0.096979 | na | -3320853.7109 | 1 | 0 | 0 | 4370
129.0129 | -43596.946 | -3189.4587 | na | 0.19929 | 0.032284 | na | -9879253.9233 | 1 | 0 | 0 | 4820
129.518 | -45217.6388 | -3208.6573 | na | 0.18379 | -0.030689 | na | 10455498.3095 | 1 | 0 | 0 | 5274
130.0231 | -46838.0092 | -3208.019 | na | 0.21596 | 0.063678 | na | -5037914.7863 | 1 | 0 | 0 | 5724
130.5276 | -48458.2629 | -3211.603 | na | 0.13698 | -0.15655 | na | 2051516.5522 | 1 | 0 | 0 | 6175
131.0327 | -50076.5393 | -3203.8731 | na | 0.15325 | 0.032222 | na | -9943089.7565 | 1 | 0 | 0 | 6627
131.5378 | -51701.6231 | -3217.3506 | na | 0.20131 | 0.095133 | na | -3381952.8528 | 1 | 0 | 0 | 7080
132.0429 | -53323.9126 | -3211.8185 | na | 0.12225 | -0.15651 | na | 2052144.6289 | 1 | 0 | 0 | 7533
132.548 | -54943.0701 | -3205.6177 | na | 0.23386 | 0.22095 | na | -1450804.0739 | 1 | 0 | 0 | 7986
133.0486 | -56550.4422 | -3210.8911 | na | 0.17125 | -0.12505 | na | 2567584.5774 | 1 | 0 | 0 | 8433
133.5537 | -58161.309 | -3189.2037 | na | 0.20342 | 0.063678 | na | -5008367.0564 | 1 | 0 | 0 | 8884
134.0537 | -58647.4353 | -972.2525 | na | 0.17267 | -0.061502 | na | 1580835.9866 | 1 | 0 | 0 | 8992
134.5537 | -58653.2378 | -11.6051 | na | 0.17369 | 0.0020501 | na | -566081.6815 | 1 | 0 | 0 | 8992
135.0537 | -58658.8721 | -11.2686 | na | 0.1906 | 0.033826 | na | -33313.0009 | 1 | 0 | 0 | 8992
135.5537 | -58664.7512 | -11.7581 | na | 0.22341 | 0.065603 | na | -17923.2509 | 1 | 0 | 0 | 8992
136.0537 | -58671.8694 | -14.2365 | na | 0.17677 | -0.093279 | na | 15262.2874 | 1 | 0 | 0 | 8992
136.5588 | -59750.5244 | -2135.5277 | na | 0.16127 | -0.030689 | na | 6958675.8742 | 1 | 0 | 0 | 9238
137.0639 | -61646.1941 | -3753.058 | na | 0.19343 | 0.063678 | na | -5893851.1739 | 1 | 0 | 0 | 9695
137.569 | -63534.055 | -3737.5983 | na | 0.19382 | 0.0007667 | na | -487491500.9586 | 1 | 0 | 0 | 10152
138.0741 | -65421.0632 | -3735.9102 | na | 0.1942 | 0.0007667 | na | -487271315.7744 | 1 | 0 | 0 | 10609
138.5792 | -67310.1538 | -3740.0329 | na | 0.16281 | -0.062144 | na | 6018321.8929 | 1 | 0 | 0 | 11066
139.0843 | -69198.0916 | -3737.7505 | na | 0.1632 | 0.0007667 | na | -487511347.3732 | 1 | 0 | 0 | 11523
139.5894 | -71084.9073 | -3735.5289 | na | 0.19537 | 0.063678 | na | -5866323.2157 | 1 | 0 | 0 | 11980
140.0945 | -72974.3361 | -3740.7024 | na | 0.21164 | 0.032222 | na | -11609117.6209 | 1 | 0 | 0 | 12437
140.5996 | -74863.985 | -3741.1383 | na | 0.16436 | -0.0936 | na | 3996962.9802 | 1 | 0 | 0 | 12894
141.1047 | -76751.1696 | -3736.2593 | na | 0.14886 | -0.030689 | na | 12174703.871 | 1 | 0 | 0 | 13351
141.6098 | -78643.5343 | -3746.515 | na | 0.18103 | 0.063678 | na | -5883575.9811 | 1 | 0 | 0 | 13808
142.1098 | -80450.5692 | -3614.0697 | na | 0.19794 | 0.033826 | na | -10684189.6131 | 1 | 0 | 0 | 14249
142.6098 | -80528.9321 | -156.7259 | na | 0.13541 | -0.12505 | na | 125325.6637 | 1 | 0 | 0 | 14249
143.1098 | -80535.2242 | -12.5842 | na | 0.21588 | 0.16093 | na | -7819.6269 | 1 | 0 | 0 | 14249
143.6098 | -80541.0421 | -11.6357 | na | 0.18513 | -0.061502 | na | 18919.1384 | 1 | 0 | 0 | 14249
144.1098 | -80547.3036 | -12.523 | na | 0.20204 | 0.033826 | na | -37021.562 | 1 | 0 | 0 | 14249
144.6098 | -80565.2378 | -35.8684 | na | 0.18718 | -0.029726 | na | 120662.7694 | 1 | 0 | 0 | 14249
145.1149 | -82417.5907 | -3667.2992 | na | 0.17168 | -0.030689 | na | 11949995.6637 | 1 | 0 | 0 | 14655
145.62 | -84486.6657 | -4096.3671 | na | 0.21973 | 0.095133 | na | -4305940.4552 | 1 | 0 | 0 | 15112
146.1251 | -86542.675 | -4070.4994 | na | 0.18834 | -0.062144 | na | 6550096.3239 | 1 | 0 | 0 | 15569
146.6302 | -88604.3717 | -4081.7595 | na | 0.17284 | -0.030689 | na | 13300525.706 | 1 | 0 | 0 | 16026
147.1353 | -90664.2545 | -4078.1684 | na | 0.22089 | 0.095133 | na | -4286810.7635 | 1 | 0 | 0 | 16483
147.6404 | -92731.6848 | -4093.1108 | na | 0.1895 | -0.062144 | na | 6586481.6635 | 1 | 0 | 0 | 16940
148.1455 | -94794.1193 | -4083.2202 | na | 0.18989 | 0.0007667 | na | -532570646.8888 | 1 | 0 | 0 | 17397
148.6506 | -96857.2479 | -4084.5942 | na | 0.14261 | -0.0936 | na | 4363904.8763 | 1 | 0 | 0 | 17853
149.1557 | -98922.4954 | -4088.7894 | na | 0.19066 | 0.095133 | na | -4297975.0819 | 1 | 0 | 0 | 18310
149.6608 | -100991.4167 | -4096.0627 | na | 0.23871 | 0.095133 | na | -4305620.5607 | 1 | 0 | 0 | 18767
150.1659 | -103060.5224 | -4096.4279 | na | 0.19144 | -0.0936 | na | 4376547.8373 | 1 | 0 | 0 | 19224
150.6659 | -104510.0819 | -2899.1191 | na | 0.20835 | 0.033826 | na | -8570597.9557 | 1 | 0 | 0 | 19540
151.1659 | -104519.036 | -17.9081 | na | 0.20937 | 0.0020501 | na | -873530.4404 | 1 | 0 | 0 | 19540
151.6659 | -104525.6188 | -13.1656 | na | 0.19451 | -0.029726 | na | 44289.4922 | 1 | 0 | 0 | 19540
152.1659 | -104532.0027 | -12.7678 | na | 0.19554 | 0.0020501 | na | -622795.5302 | 1 | 0 | 0 | 19540
152.6659 | -104538.7232 | -13.4409 | na | 0.18067 | -0.029726 | na | 45215.8527 | 1 | 0 | 0 | 19540
153.171 | -105070.4068 | -1052.6305 | na | 0.19695 | 0.032222 | na | -3266795.8823 | 1 | 0 | 0 | 19648
153.6761 | -107239.7037 | -4294.787 | na | 0.19734 | 0.0007667 | na | -560165101.6309 | 1 | 0 | 0 | 20105
154.1812 | -109403.851 | -4284.5918 | na | 0.2295 | 0.063678 | na | -6728578.7468 | 1 | 0 | 0 | 20562
154.6863 | -111561.604 | -4271.9322 | na | 0.22989 | 0.0007667 | na | -557184170.1707 | 1 | 0 | 0 | 21019
155.1914 | -113720.9094 | -4275.0058 | na | 0.23027 | 0.0007667 | na | -557585067.7439 | 1 | 0 | 0 | 21476
155.6965 | -115876.9925 | -4268.6261 | na | 0.19889 | -0.062144 | na | 6868914.4274 | 1 | 0 | 0 | 21932
156.2016 | -118043.3227 | -4288.9135 | na | 0.21516 | 0.032222 | na | -13310468.2982 | 1 | 0 | 0 | 22389
156.7067 | -120208.5165 | -4286.6637 | na | 0.21555 | 0.0007667 | na | -559105591.6415 | 1 | 0 | 0 | 22846
157.2118 | -122370.5274 | -4280.362 | na | 0.20005 | -0.030689 | na | 13947677.4099 | 1 | 0 | 0 | 23303
157.7169 | -124535.9045 | -4287.0267 | na | 0.18455 | -0.030689 | na | 13969394.5756 | 1 | 0 | 0 | 23760
158.222 | -126698.0204 | -4280.5699 | na | 0.21671 | 0.063678 | na | -6722262.7179 | 1 | 0 | 0 | 24216
158.7271 | -128849.6862 | -4259.8809 | na | 0.20121 | -0.030689 | na | 13880939.2706 | 1 | 0 | 0 | 24673
159.2271 | -129739.3687 | -1779.3649 | na | 0.21812 | 0.033826 | na | -5260294.8209 | 1 | 0 | 0 | 24858
159.7271 | -129746.6552 | -14.573 | na | 0.15559 | -0.12505 | na | 11653.2991 | 1 | 0 | 0 | 24858
160.2271 | -129753.2533 | -13.1962 | na | 0.28372 | 0.25626 | na | -5149.5208 | 1 | 0 | 0 | 24858
160.7271 | -129759.4077 | -12.3089 | na | 0.20531 | -0.15683 | na | 7848.4769 | 1 | 0 | 0 | 24858
161.2271 | -129766.8931 | -14.9708 | na | 0.20633 | 0.0020501 | na | -730253.3488 | 1 | 0 | 0 | 24858
161.7322 | -131057.9051 | -2555.9534 | na | 0.22261 | 0.032222 | na | -7932297.1305 | 1 | 0 | 0 | 25125
162.2373 | -133278.5947 | -4396.5344 | na | 0.19122 | -0.062144 | na | 7074739.7082 | 1 | 0 | 0 | 25581
162.7424 | -135489.5482 | -4377.259 | na | 0.23927 | 0.095133 | na | -4601203.0869 | 1 | 0 | 0 | 26038
163.2475 | -137701.9888 | -4380.2031 | na | 0.25555 | 0.032222 | na | -13593781.9359 | 1 | 0 | 0 | 26495
163.7526 | -139909.038 | -4369.5292 | na | 0.22416 | -0.062144 | na | 7031283.8697 | 1 | 0 | 0 | 26952
164.2577 | -142117.6312 | -4372.5859 | na | 0.24043 | 0.032222 | na | -13570142.2146 | 1 | 0 | 0 | 27408
164.7628 | -144329.0151 | -4378.1112 | na | 0.19316 | -0.0936 | na | 4677492.9801 | 1 | 0 | 0 | 27865
165.2679 | -146542.9639 | -4383.1891 | na | 0.22532 | 0.063678 | na | -6883417.1534 | 1 | 0 | 0 | 28322
165.7729 | -148758.9433 | -4388.078 | na | 0.19394 | -0.062132 | na | 7062547.7889 | 1 | 0 | 0 | 28778
166.278 | -150971.1727 | -4379.7849 | na | 0.22611 | 0.063678 | na | -6878071.2624 | 1 | 0 | 0 | 29235
166.7831 | -153182.3359 | -4377.6742 | na | 0.19472 | -0.062144 | na | 7044390.5303 | 1 | 0 | 0 | 29692
167.2882 | -155386.3262 | -4363.4731 | na | 0.25866 | 0.12659 | na | -3446978.9171 | 1 | 0 | 0 | 30149
167.7882 | -155646.1735 | -519.6947 | na | 0.2438 | -0.029726 | na | 1748273.1185 | 1 | 0 | 0 | 30197
168.2882 | -155653.0164 | -13.6857 | na | 0.22893 | -0.029726 | na | 46039.2842 | 1 | 0 | 0 | 30197
168.7882 | -155659.7522 | -13.4715 | na | 0.24585 | 0.033826 | na | -39825.596 | 1 | 0 | 0 | 30197
169.2882 | -155666.4573 | -13.4103 | na | 0.23098 | -0.029726 | na | 45112.9237 | 1 | 0 | 0 | 30197
169.7882 | -155689.1953 | -45.4758 | na | 0.20023 | -0.061502 | na | 73941.5214 | 1 | 0 | 0 | 30197
170.2933 | -157754.658 | -4089.2154 | na | 0.21651 | 0.032222 | na | -12690713.4884 | 1 | 0 | 0 | 30622
170.7984 | -159995.4774 | -4436.3877 | na | 0.23278 | 0.032222 | na | -13768148.5204 | 1 | 0 | 0 | 31078
171.3035 | -162240.0791 | -4443.8758 | na | 0.16962 | -0.12505 | na | 3553539.0119 | 1 | 0 | 0 | 31535
171.8086 | -164469.233 | -4413.2923 | na | 0.24944 | 0.15804 | na | -2792449.9303 | 1 | 0 | 0 | 31992
172.3136 | -166709.899 | -4436.9624 | na | 0.24984 | 0.00079162 | na | -560494717.4231 | 1 | 0 | 0 | 32448
172.8187 | -168940.1918 | -4415.547 | na | 0.18668 | -0.12505 | na | 3530885.9441 | 1 | 0 | 0 | 32905
173.3238 | -171171.8968 | -4418.3429 | na | 0.23473 | 0.095133 | na | -4644388.8456 | 1 | 0 | 0 | 33362
173.8289 | -173407.9454 | -4426.9424 | na | 0.25101 | 0.032222 | na | -13738835.2659 | 1 | 0 | 0 | 33818
174.334 | -175638.0825 | -4415.2388 | na | 0.20373 | -0.0936 | na | 4717159.4747 | 1 | 0 | 0 | 34275
174.8391 | -177877.3476 | -4433.3104 | na | 0.23589 | 0.063678 | na | -6962128.2717 | 1 | 0 | 0 | 34732
175.3442 | -180118.5214 | -4437.0893 | na | 0.22039 | -0.030689 | na | 14458377.8811 | 1 | 0 | 0 | 35189
175.8442 | -181923.7423 | -3610.4418 | na | 0.2373 | 0.033826 | na | -10673464.7138 | 1 | 0 | 0 | 35558
176.3442 | -181935.3277 | -23.1707 | na | 0.27011 | 0.065603 | na | -35319.8509 | 1 | 0 | 0 | 35558
176.8442 | -181942.1705 | -13.6857 | na | 0.23935 | -0.061502 | na | 22252.3207 | 1 | 0 | 0 | 35558
177.3442 | -181949.2888 | -14.2365 | na | 0.27216 | 0.065603 | na | -21701.0649 | 1 | 0 | 0 | 35558
177.8442 | -181956.2387 | -13.8999 | na | 0.22552 | -0.093279 | na | 14901.4705 | 1 | 0 | 0 | 35558
178.3493 | -182571.2681 | -1217.639 | na | 0.28946 | 0.12659 | na | -961888.7906 | 1 | 0 | 0 | 35682
178.8544 | -184810.7204 | -4433.6809 | na | 0.25807 | -0.062144 | na | 7134514.4158 | 1 | 0 | 0 | 36139
179.3595 | -187061.9279 | -4456.9542 | na | 0.22668 | -0.062144 | na | 7171964.942 | 1 | 0 | 0 | 36595
179.8646 | -189299.4895 | -4429.9377 | na | 0.27473 | 0.095133 | na | -4656576.8263 | 1 | 0 | 0 | 37052
180.3697 | -191544.8951 | -4445.4674 | na | 0.24334 | -0.062144 | na | 7153480.8708 | 1 | 0 | 0 | 37509
180.8748 | -193790.6717 | -4446.2021 | na | 0.24373 | 0.0007667 | na | -579914036.3437 | 1 | 0 | 0 | 37965
181.3799 | -196033.2113 | -4439.7932 | na | 0.24412 | 0.0007667 | na | -579078124.9771 | 1 | 0 | 0 | 38422
181.885 | -198285.373 | -4458.8433 | na | 0.26039 | 0.032222 | na | -13837838.4188 | 1 | 0 | 0 | 38879
182.3901 | -200534.8474 | -4453.5229 | na | 0.26078 | 0.0007667 | na | -580868881.2533 | 1 | 0 | 0 | 39336
182.8952 | -202776.0208 | -4437.0885 | na | 0.26117 | 0.0007667 | na | -578725358.6011 | 1 | 0 | 0 | 39792
183.4003 | -205024.9572 | -4452.4577 | na | 0.24566 | -0.030689 | na | 14508456.2768 | 1 | 0 | 0 | 40249
183.9054 | -207272.8406 | -4450.3729 | na | 0.21428 | -0.062144 | na | 7161374.5989 | 1 | 0 | 0 | 40706
184.4054 | -208400.8105 | -2255.9398 | na | 0.19941 | -0.029726 | na | 7589069.3185 | 1 | 0 | 0 | 40934
184.9054 | -208408.5865 | -15.5521 | na | 0.26399 | 0.12916 | na | -12041.4329 | 1 | 0 | 0 | 40934
185.4054 | -208415.4753 | -13.7775 | na | 0.2809 | 0.033826 | na | -40730.1231 | 1 | 0 | 0 | 40934
185.9054 | -208422.4405 | -13.9305 | na | 0.28193 | 0.0020501 | na | -679509.3789 | 1 | 0 | 0 | 40934
186.4054 | -208430.0024 | -15.1238 | na | 0.26707 | -0.029726 | na | 50876.9446 | 1 | 0 | 0 | 40934
186.9105 | -209807.7627 | -2727.6979 | na | 0.18801 | -0.15651 | na | 1742822.8265 | 1 | 0 | 0 | 41214
187.4156 | -212051.1038 | -4441.3803 | na | 0.1884 | 0.0007667 | na | -579285137.375 | 1 | 0 | 0 | 41671
187.9207 | -214299.4797 | -4451.3479 | na | 0.25234 | 0.12659 | na | -3516396.6929 | 1 | 0 | 0 | 42127
188.4258 | -216551.3059 | -4458.1791 | na | 0.25273 | 0.0007667 | na | -581476181.5375 | 1 | 0 | 0 | 42584
188.9309 | -218801.6824 | -4455.3089 | na | 0.20545 | -0.0936 | na | 4759969.6013 | 1 | 0 | 0 | 43041
189.436 | -221047.7136 | -4446.706 | na | 0.2535 | 0.095133 | na | -4674203.0138 | 1 | 0 | 0 | 43498
189.9411 | -223298.6134 | -4456.3448 | na | 0.238 | -0.030689 | na | 14521122.3967 | 1 | 0 | 0 | 43954
190.4462 | -225547.3192 | -4452.0013 | na | 0.28605 | 0.095133 | na | -4679769.1782 | 1 | 0 | 0 | 44411
190.9513 | -227790.2317 | -4440.5315 | na | 0.30233 | 0.032222 | na | -13781008.5288 | 1 | 0 | 0 | 44868
191.4563 | -230045.0251 | -4464.9374 | na | 0.23917 | -0.12505 | na | 3570380.8759 | 1 | 0 | 0 | 45324
191.9614 | -232293.8692 | -4452.2752 | na | 0.28723 | 0.095133 | na | -4680057.0833 | 1 | 0 | 0 | 45781
192.4665 | -234547.1237 | -4461.0066 | na | 0.23995 | -0.0936 | na | 4766056.8951 | 1 | 0 | 0 | 46237
192.9665 | -235013.3627 | -932.4781 | na | 0.25686 | 0.033826 | na | -2756663.1721 | 1 | 0 | 0 | 46332
193.4665 | -235020.4044 | -14.0835 | na | 0.27377 | 0.033826 | na | -41634.6501 | 1 | 0 | 0 | 46332
193.9665 | -235027.1708 | -13.5327 | na | 0.21125 | -0.12505 | na | 10821.4307 | 1 | 0 | 0 | 46332
194.4665 | -235034.029 | -13.7163 | na | 0.22816 | 0.033826 | na | -40549.2176 | 1 | 0 | 0 | 46332
194.9665 | -235059.0463 | -50.0348 | na | 0.27685 | 0.097379 | na | -51381.5501 | 1 | 0 | 0 | 46332
195.4716 | -237185.9811 | -4210.9181 | na | 0.27724 | 0.0007667 | na | -549226162.7046 | 1 | 0 | 0 | 46766
195.9767 | -239445.0012 | -4472.4215 | na | 0.22996 | -0.0936 | na | 4778252.3792 | 1 | 0 | 0 | 47223
196.4818 | -241695.4085 | -4455.3698 | na | 0.24624 | 0.032222 | na | -13827058.7059 | 1 | 0 | 0 | 47679
196.9869 | -243948.8026 | -4461.2832 | na | 0.26251 | 0.032222 | na | -13845410.5785 | 1 | 0 | 0 | 48136
197.492 | -246201.6415 | -4460.1839 | na | 0.31056 | 0.095133 | na | -4688370.4414 | 1 | 0 | 0 | 48593
197.9971 | -248451.8179 | -4454.9128 | na | 0.2474 | -0.12505 | na | 3562364.7308 | 1 | 0 | 0 | 49049
198.5022 | -250704.4435 | -4459.7615 | na | 0.27956 | 0.063678 | na | -7003667.5716 | 1 | 0 | 0 | 49506
199.0073 | -252968.7016 | -4482.7918 | na | 0.26406 | -0.030689 | na | 14607300.5966 | 1 | 0 | 0 | 49963
199.5124 | -255225.2315 | -4467.4914 | na | 0.26445 | 0.0007667 | na | -582690782.1058 | 1 | 0 | 0 | 50420
200.0175 | -257480.6559 | -4465.3027 | na | 0.29661 | 0.063678 | na | -7012369.411 | 1 | 0 | 0 | 50876
200.5226 | -259728.2857 | -4449.871 | na | 0.28111 | -0.030689 | na | 14500027.2399 | 1 | 0 | 0 | 51333
201.0226 | -261770.7305 | -4084.8895 | na | 0.21858 | -0.12505 | na | 3266476.1648 | 1 | 0 | 0 | 51748
201.5226 | -261787.8692 | -34.2774 | na | 0.29905 | 0.16093 | na | -21299.3851 | 1 | 0 | 0 | 51748
202.0226 | -261795.0792 | -14.42 | na | 0.22063 | -0.15683 | na | 9194.6261 | 1 | 0 | 0 | 51748
202.5226 | -261801.815 | -13.4715 | na | 0.28521 | 0.12916 | na | -10430.5132 | 1 | 0 | 0 | 51748
203.0226 | -261808.8414 | -14.0529 | na | 0.30212 | 0.033826 | na | -41544.1974 | 1 | 0 | 0 | 51748
203.5277 | -262402.6665 | -1175.6585 | na | 0.30251 | 0.0007667 | na | -153340048.2787 | 1 | 0 | 0 | 51867
204.0328 | -264655.0154 | -4459.2138 | na | 0.28701 | -0.030689 | na | 14530470.9379 | 1 | 0 | 0 | 52324
204.5379 | -266909.701 | -4463.8402 | na | 0.25562 | -0.062144 | na | 7183045.5789 | 1 | 0 | 0 | 52780
205.043 | -269160.5281 | -4456.2009 | na | 0.2719 | 0.032222 | na | -13829638.0925 | 1 | 0 | 0 | 53237
205.5481 | -271416.0141 | -4465.4245 | na | 0.28817 | 0.032222 | na | -13858263.138 | 1 | 0 | 0 | 53694
206.0532 | -273673.082 | -4468.5565 | na | 0.25678 | -0.062144 | na | 7190635.0069 | 1 | 0 | 0 | 54151
206.5583 | -275927.7061 | -4463.7183 | na | 0.22539 | -0.062144 | na | 7182849.4614 | 1 | 0 | 0 | 54607
207.0634 | -278186.4956 | -4471.965 | na | 0.24167 | 0.032222 | na | -13878561.1329 | 1 | 0 | 0 | 55064
207.5685 | -280433.1786 | -4447.9963 | na | 0.28972 | 0.095133 | na | -4675559.3703 | 1 | 0 | 0 | 55521
208.0736 | -282690.1389 | -4468.3435 | na | 0.27422 | -0.030689 | na | 14560220.4799 | 1 | 0 | 0 | 55978
208.5787 | -284948.395 | -4470.9089 | na | 0.27461 | 0.0007667 | na | -583136527.5954 | 1 | 0 | 0 | 56434
209.0838 | -287207.2359 | -4472.0668 | na | 0.24322 | -0.062144 | na | 7196283.5079 | 1 | 0 | 0 | 56891
209.5838 | -288533.6896 | -2652.9074 | na | 0.29191 | 0.097379 | na | -2724316.0612 | 1 | 0 | 0 | 57158
210.0838 | -288542.1388 | -16.8984 | na | 0.24527 | -0.093279 | na | 18116.0207 | 1 | 0 | 0 | 57158
210.5838 | -288548.8745 | -13.4715 | na | 0.26218 | 0.033826 | na | -39825.596 | 1 | 0 | 0 | 57158
211.0838 | -288555.8092 | -13.8693 | na | 0.23143 | -0.061502 | na | 22550.8147 | 1 | 0 | 0 | 57158
211.5838 | -288563.3864 | -15.1544 | na | 0.26423 | 0.065603 | na | -23100.2552 | 1 | 0 | 0 | 57158
212.0889 | -289973.0504 | -2790.8613 | na | 0.28051 | 0.032222 | na | -8661324.2575 | 1 | 0 | 0 | 57445
212.5939 | -292227.6129 | -4464.4802 | na | 0.23324 | -0.093593 | na | 4770085.5548 | 1 | 0 | 0 | 57901
213.099 | -294477.1027 | -4453.5533 | na | 0.29718 | 0.12659 | na | -3518138.872 | 1 | 0 | 0 | 58358
213.6041 | -296729.1875 | -4458.6909 | na | 0.2499 | -0.0936 | na | 4763582.9148 | 1 | 0 | 0 | 58814
214.1092 | -298971.7601 | -4439.8587 | na | 0.29796 | 0.095133 | na | -4667005.3873 | 1 | 0 | 0 | 59271
214.6143 | -301222.2751 | -4455.5831 | na | 0.28246 | -0.030689 | na | 14518640.3056 | 1 | 0 | 0 | 59728
215.1194 | -303473.548 | -4457.0835 | na | 0.28284 | 0.0007667 | na | -581333287.3529 | 1 | 0 | 0 | 60185
215.6245 | -305724.3862 | -4456.2229 | na | 0.29912 | 0.032222 | na | -13829706.3547 | 1 | 0 | 0 | 60641
216.1296 | -307975.0903 | -4455.9575 | na | 0.31539 | 0.032222 | na | -13828882.5243 | 1 | 0 | 0 | 61098
216.6347 | -310224.7127 | -4453.8159 | na | 0.29989 | -0.030689 | na | 14512881.8545 | 1 | 0 | 0 | 61555
217.1398 | -312468.8379 | -4442.9324 | na | 0.2685 | -0.062144 | na | 7149401.5534 | 1 | 0 | 0 | 62012
217.6449 | -314721.6152 | -4460.062 | na | 0.28478 | 0.032222 | na | -13841620.7742 | 1 | 0 | 0 | 62468
218.1449 | -315367.0439 | -1290.8573 | na | 0.26992 | -0.029726 | na | 4342494.2496 | 1 | 0 | 0 | 62598
218.6449 | -315374.0397 | -13.9917 | na | 0.28683 | 0.033826 | na | -41363.292 | 1 | 0 | 0 | 62598
219.1449 | -315380.5307 | -12.982 | na | 0.30374 | 0.033826 | na | -38378.3526 | 1 | 0 | 0 | 62598
219.6449 | -315387.2206 | -13.3797 | na | 0.28888 | -0.029726 | na | 45009.9948 | 1 | 0 | 0 | 62598
220.1449 | -315411.2436 | -48.046 | na | 0.2899 | 0.0020501 | na | -2343613.098 | 1 | 0 | 0 | 62598
220.65 | -317540.7461 | -4216.0018 | na | 0.29029 | 0.0007667 | na | -549889226.2735 | 1 | 0 | 0 | 63032
221.1551 | -319787.9566 | -4449.0408 | na | 0.2589 | -0.062144 | na | 7159231.0084 | 1 | 0 | 0 | 63489
221.6602 | -322030.038 | -4438.8862 | na | 0.30695 | 0.095133 | na | -4665983.0947 | 1 | 0 | 0 | 63946
222.1652 | -324277.406 | -4450.2336 | na | 0.32324 | 0.032253 | na | -13797782.4964 | 1 | 0 | 0 | 64402
222.6703 | -326520.7185 | -4441.3237 | na | 0.29185 | -0.062144 | na | 7146812.877 | 1 | 0 | 0 | 64859
223.1754 | -328769.6857 | -4452.5186 | na | 0.29224 | 0.0007667 | na | -580737894.9175 | 1 | 0 | 0 | 65316
223.6805 | -331009.1816 | -4433.7674 | na | 0.26085 | -0.062144 | na | 7134653.5941 | 1 | 0 | 0 | 65772
224.1856 | -333256.6116 | -4449.4754 | na | 0.26124 | 0.0007667 | na | -580340966.6272 | 1 | 0 | 0 | 66229
224.6907 | -335496.7231 | -4434.9861 | na | 0.2934 | 0.063678 | na | -6964759.9504 | 1 | 0 | 0 | 66686
225.1958 | -337744.9985 | -4451.1492 | na | 0.24612 | -0.0936 | na | 4755525.4286 | 1 | 0 | 0 | 67143
225.7009 | -339994.8056 | -4454.1815 | na | 0.2624 | 0.032222 | na | -13823370.9094 | 1 | 0 | 0 | 67599
226.2009 | -342149.2523 | -4308.8933 | na | 0.31109 | 0.097379 | na | -4424876.377 | 1 | 0 | 0 | 68039
226.7009 | -342188.9102 | -79.3159 | na | 0.328 | 0.033826 | na | -234479.8263 | 1 | 0 | 0 | 68039
227.2009 | -342195.952 | -14.0835 | na | 0.26548 | -0.12505 | na | 11261.8316 | 1 | 0 | 0 | 68039
227.7009 | -342202.8101 | -13.7163 | na | 0.29828 | 0.065603 | na | -20908.1903 | 1 | 0 | 0 | 68039
228.2009 | -342209.347 | -13.0738 | na | 0.2993 | 0.0020501 | na | -637720.2272 | 1 | 0 | 0 | 68039
228.706 | -342876.9571 | -1321.7385 | na | 0.33147 | 0.063678 | na | -2075675.3174 | 1 | 0 | 0 | 68173
229.2111 | -345117.0225 | -4434.8947 | na | 0.2683 | -0.12505 | na | 3546357.3292 | 1 | 0 | 0 | 68629
229.7162 | -347363.3053 | -4447.2042 | na | 0.26869 | 0.0007667 | na | -580044735.2733 | 1 | 0 | 0 | 69086
230.2212 | -349608.1984 | -4445.333 | na | 0.26909 | 0.00079162 | na | -561552125.2105 | 1 | 0 | 0 | 69542
230.7263 | -351843.3544 | -4425.1752 | na | 0.34891 | 0.15804 | na | -2799968.6449 | 1 | 0 | 0 | 69999
231.2314 | -354075.9663 | -4420.1384 | na | 0.26986 | -0.15651 | na | 2824183.0178 | 1 | 0 | 0 | 70456
231.7365 | -356318.217 | -4439.2213 | na | 0.25436 | -0.030689 | na | 14465324.9907 | 1 | 0 | 0 | 70912
232.2416 | -358560.39 | -4439.0674 | na | 0.28652 | 0.063678 | na | -6971169.2877 | 1 | 0 | 0 | 71369
232.7467 | -360794.8534 | -4423.8041 | na | 0.3028 | 0.032222 | na | -13729095.7008 | 1 | 0 | 0 | 71826
233.2518 | -363038.6097 | -4442.202 | na | 0.2873 | -0.030689 | na | 14475037.6246 | 1 | 0 | 0 | 72283
233.7569 | -365274.7506 | -4427.1252 | na | 0.70134 | 0.81973 | na | -540071.4048 | 1 | 0 | 0 | 72739
234.262 | -367507.4547 | -4420.321 | na | 0.76528 | 0.12659 | na | -3491886.6184 | 1 | 0 | 0 | 73196
234.762 | -369011.4431 | -3007.9768 | na | 0.79809 | 0.065603 | na | -4585149.5963 | 1 | 0 | 0 | 73497
235.262 | -369019.8923 | -16.8984 | na | 0.815 | 0.033826 | na | -49956.2994 | 1 | 0 | 0 | 73497
235.762 | -369026.0467 | -12.3089 | na | 0.83191 | 0.033826 | na | -36388.393 | 1 | 0 | 0 | 73497
236.262 | -369032.4153 | -12.7372 | na | 0.91238 | 0.16093 | na | -7914.6887 | 1 | 0 | 0 | 73497
236.762 | -369039.9313 | -15.032 | na | 0.9134 | 0.0020501 | na | -733238.2882 | 1 | 0 | 0 | 73497
237.2671 | -370424.3855 | -2740.9507 | na | 0.8979 | -0.030689 | na | 8931463.3189 | 1 | 0 | 0 | 73780
237.7721 | -372638.4742 | -4384.3341 | na | 0.91419 | 0.032253 | na | -13593463.6532 | 1 | 0 | 0 | 74236
238.2772 | -374858.5636 | -4395.3461 | na | 0.93046 | 0.032222 | na | -13640777.7019 | 1 | 0 | 0 | 74693
238.7823 | -377074.2362 | -4386.6018 | na | 0.91496 | -0.030689 | na | 14293862.9138 | 1 | 0 | 0 | 75150
239.2874 | -379282.5215 | -4371.9765 | na | 0.94713 | 0.063678 | na | -6865808.8303 | 1 | 0 | 0 | 75606
239.7925 | -381493.306 | -4376.9243 | na | 0.97929 | 0.063678 | na | -6873578.8525 | 1 | 0 | 0 | 76063
240.2976 | -383698.9443 | -4366.7359 | na | 0.97968 | 0.0007667 | na | -569549332.2876 | 1 | 0 | 0 | 76520
240.8027 | -385913.5408 | -4384.4715 | na | 0.94829 | -0.062144 | na | 7055328.5557 | 1 | 0 | 0 | 76977
241.3078 | -388125.0119 | -4378.2836 | na | 0.94868 | 0.0007667 | na | -571055488.1875 | 1 | 0 | 0 | 77433
241.8129 | -390344.3428 | -4393.8448 | na | 0.98084 | 0.063678 | na | -6900150.9788 | 1 | 0 | 0 | 77890
242.318 | -392553.7363 | -4374.1703 | na | 0.94945 | -0.062144 | na | 7038752.1531 | 1 | 0 | 0 | 78347
242.8231 | -394770.9614 | -4389.6755 | na | 0.98161 | 0.063678 | na | -6893603.5305 | 1 | 0 | 0 | 78804
243.3231 | -395563.3306 | -1584.7384 | na | 0.98264 | 0.0020501 | na | -77301264.763 | 1 | 0 | 0 | 78961
243.8231 | -395570.6477 | -14.6342 | na | 0.95189 | -0.061502 | na | 23794.5394 | 1 | 0 | 0 | 78961
244.3231 | -395577.414 | -13.5327 | na | 1.0482 | 0.19271 | na | -7022.4178 | 1 | 0 | 0 | 78961
244.8231 | -395583.8744 | -12.9208 | na | 1.0175 | -0.061502 | na | 21008.596 | 1 | 0 | 0 | 78961
245.3231 | -395606.8265 | -45.9042 | na | 1.0185 | 0.0020501 | na | -2239140.2188 | 1 | 0 | 0 | 78961
245.8282 | -397677.5309 | -4099.5929 | na | 1.0348 | 0.032222 | na | -12722919.5826 | 1 | 0 | 0 | 79396
246.3333 | -399829.5657 | -4260.6113 | na | 1.067 | 0.063678 | na | -6690919.38 | 1 | 0 | 0 | 79853
246.8384 | -401988.9019 | -4275.0667 | na | 1.0673 | 0.0007667 | na | -557593006.3097 | 1 | 0 | 0 | 80310
247.3435 | -404142.4918 | -4263.6902 | na | 1.036 | -0.062144 | na | 6860971.67 | 1 | 0 | 0 | 80766
247.8486 | -406288.0705 | -4247.8296 | na | 1.0205 | -0.030689 | na | 13841669.8752 | 1 | 0 | 0 | 81223
248.3537 | -408438.6142 | -4257.6593 | na | 1.0526 | 0.063678 | na | -6686283.5953 | 1 | 0 | 0 | 81680
248.8588 | -410592.8967 | -4265.0613 | na | 1.0212 | -0.062144 | na | 6863177.9915 | 1 | 0 | 0 | 82137
249.3639 | -412736.1697 | -4243.2647 | na | 1.0852 | 0.12659 | na | -3352018.842 | 1 | 0 | 0 | 82594
249.869 | -414887.8048 | -4259.82 | na | 1.0538 | -0.062144 | na | 6854743.9651 | 1 | 0 | 0 | 83051
250.3741 | -417045.7039 | -4272.2215 | na | 1.0542 | 0.0007667 | na | -557221903.2602 | 1 | 0 | 0 | 83507
250.8792 | -419191.8667 | -4248.9861 | na | 1.0863 | 0.063678 | na | -6672662.991 | 1 | 0 | 0 | 83964
251.3843 | -421369.911 | -4312.1052 | na | 1.0549 | -0.062144 | na | 6938879.3334 | 1 | 0 | 0 | 84420
251.8843 | -421488.0958 | -236.3695 | na | 1.0401 | -0.029726 | na | 795156.1463 | 1 | 0 | 0 | 84437
252.3843 | -421494.5715 | -12.9514 | na | 1.1205 | 0.16093 | na | -8047.7751 | 1 | 0 | 0 | 84437
252.8843 | -421500.8636 | -12.5842 | na | 1.0739 | -0.093279 | na | 13491.0047 | 1 | 0 | 0 | 84437
253.3843 | -421507.1557 | -12.5842 | na | 1.1067 | 0.065603 | na | -19182.5222 | 1 | 0 | 0 | 84437
253.8894 | -422188.5803 | -1349.0885 | na | 1.0912 | -0.030689 | na | 4396041.9195 | 1 | 0 | 0 | 84575
254.3945 | -424235.5358 | -4052.5747 | na | 1.1393 | 0.095133 | na | -4259907.6353 | 1 | 0 | 0 | 85032
254.8996 | -426275.6663 | -4039.0627 | na | 1.092 | -0.0936 | na | 4315259.8517 | 1 | 0 | 0 | 85489
255.4046 | -428322.6518 | -4053.4366 | na | 1.14 | 0.095177 | na | -4258861.6744 | 1 | 0 | 0 | 85945
255.9097 | -430363.9883 | -4041.4503 | na | 1.061 | -0.15651 | na | 2582225.7326 | 1 | 0 | 0 | 86402
256.4148 | -432402.7355 | -4036.3237 | na | 1.1249 | 0.12659 | na | -3188543.2698 | 1 | 0 | 0 | 86859
256.9199 | -434445.9096 | -4045.0883 | na | 1.1094 | -0.030689 | na | 13181031.7122 | 1 | 0 | 0 | 87316
257.425 | -436492.0196 | -4050.9009 | na | 1.1416 | 0.063678 | na | -6361587.5051 | 1 | 0 | 0 | 87773
257.9301 | -438532.5806 | -4039.9148 | na | 1.142 | 0.0007667 | na | -526922357.3177 | 1 | 0 | 0 | 88230
258.4352 | -440578.3524 | -4050.2314 | na | 1.1424 | 0.0007667 | na | -528267944.2218 | 1 | 0 | 0 | 88687
258.9403 | -442624.3088 | -4050.5966 | na | 1.111 | -0.062144 | na | 6518069.3898 | 1 | 0 | 0 | 89144
259.4454 | -444665.3001 | -4040.7669 | na | 1.1908 | 0.15804 | na | -2556739.6005 | 1 | 0 | 0 | 89601
259.9454 | -446202.821 | -3075.0417 | na | 1.1442 | -0.093279 | na | 3296617.9715 | 1 | 0 | 0 | 89926
260.4454 | -446211.5914 | -17.5409 | na | 1.1293 | -0.029726 | na | 59008.3313 | 1 | 0 | 0 | 89926
260.9454 | -446217.9141 | -12.6454 | na | 1.1303 | 0.0020501 | na | -616825.6514 | 1 | 0 | 0 | 89926
261.4454 | -446224.0992 | -12.3701 | na | 1.179 | 0.097379 | na | -12703.0195 | 1 | 0 | 0 | 89926
261.9454 | -446231.4928 | -14.7872 | na | 1.1165 | -0.12505 | na | 11824.5661 | 1 | 0 | 0 | 89926
262.4505 | -447543.4802 | -2597.4805 | na | 1.1645 | 0.095133 | na | -2730369.6811 | 1 | 0 | 0 | 90215
262.9556 | -449391.5444 | -3658.8086 | na | 1.1332 | -0.062144 | na | 5887618.7014 | 1 | 0 | 0 | 90672
263.4607 | -451252.2286 | -3683.7937 | na | 1.1812 | 0.095133 | na | -3872259.4695 | 1 | 0 | 0 | 91128
263.9658 | -453105.6441 | -3669.4032 | na | 1.1657 | -0.030689 | na | 11956851.5549 | 1 | 0 | 0 | 91585
264.4709 | -454958.8578 | -3669.0035 | na | 1.1502 | -0.030689 | na | 11955548.9115 | 1 | 0 | 0 | 92042
264.976 | -456820.2337 | -3685.1631 | na | 1.1347 | -0.030689 | na | 12008205.6009 | 1 | 0 | 0 | 92499
265.481 | -458669.2108 | -3661.3409 | na | 1.1033 | -0.062132 | na | 5892874.8806 | 1 | 0 | 0 | 92956
265.9861 | -460524.5457 | -3673.2032 | na | 1.1673 | 0.12659 | na | -2901691.7216 | 1 | 0 | 0 | 93412
266.4912 | -462383.1855 | -3679.7461 | na | 1.1835 | 0.032222 | na | -11419942.2347 | 1 | 0 | 0 | 93869
266.9963 | -464242.4402 | -3680.9634 | na | 1.1521 | -0.062144 | na | 5923269.4782 | 1 | 0 | 0 | 94326
267.5014 | -466096.2856 | -3670.2543 | na | 1.1684 | 0.032222 | na | -11390484.7769 | 1 | 0 | 0 | 94783
268.0065 | -467949.3148 | -3668.6383 | na | 1.1688 | 0.0007667 | na | -478497105.9003 | 1 | 0 | 0 | 95240
268.5065 | -468853.5766 | -1808.5237 | na | 1.1539 | -0.029726 | na | 6083944.0119 | 1 | 0 | 0 | 95427
269.0065 | -468859.9606 | -12.7678 | na | 1.1868 | 0.065603 | na | -19462.3603 | 1 | 0 | 0 | 95427
269.5065 | -468866.0385 | -12.1559 | na | 1.1719 | -0.029726 | na | 40892.837 | 1 | 0 | 0 | 95427
270.0065 | -468872.0093 | -11.9417 | na | 1.1888 | 0.033826 | na | -35302.9605 | 1 | 0 | 0 | 95427
270.5065 | -468899.6274 | -55.2362 | na | 1.2057 | 0.033826 | na | -163293.5441 | 1 | 0 | 0 | 95427
271.0116 | -470603.7338 | -3373.8 | na | 1.2061 | 0.0007667 | na | -440041619.7807 | 1 | 0 | 0 | 95860
271.5167 | -472162.5995 | -3086.2515 | na | 1.2065 | 0.0007667 | na | -402536938.9843 | 1 | 0 | 0 | 96306
272.0177 | -473715.5664 | -3099.7344 | na | 1.2392 | 0.065222 | na | -4752587.8531 | 1 | 0 | 0 | 96747
272.5188 | -475267.7826 | -3097.6176 | na | 1.2083 | -0.061642 | na | 5025179.1592 | 1 | 0 | 0 | 97190
273.0239 | -476832.283 | -3097.4072 | na | 1.2246 | 0.032222 | na | -9612676.9186 | 1 | 0 | 0 | 97638
273.5269 | -478393.0041 | -3102.8253 | na | 1.1934 | -0.061881 | na | 5014143.1213 | 1 | 0 | 0 | 98082
274.0308 | -479953.6165 | -3097.0678 | na | 1.1622 | -0.061994 | na | 4995729.9878 | 1 | 0 | 0 | 98531
274.5313 | -481502.7986 | -3095.269 | na | 1.2267 | 0.1289 | na | -2401273.5988 | 1 | 0 | 0 | 98972
275.0364 | -483063.4761 | -3089.8385 | na | 1.1953 | -0.062144 | na | 4972053.2014 | 1 | 0 | 0 | 99421
275.541 | -484625.8404 | -3096.2431 | na | 1.2275 | 0.063865 | na | -4848142.2063 | 1 | 0 | 0 | 99868
276.0461 | -486184.1073 | -3085.0663 | na | 1.1961 | -0.062144 | na | 4964373.944 | 1 | 0 | 0 | 100314
276.5512 | -487880.6907 | -3358.9058 | na | 1.2283 | 0.063678 | na | -5274869.4409 | 1 | 0 | 0 | 100764
277.0512 | -488184.6434 | -607.9054 | na | 1.2293 | 0.0020501 | na | -29652750.3726 | 1 | 0 | 0 | 100823
277.5512 | -488190.5071 | -11.7275 | na | 1.2145 | -0.029726 | na | 39451.8317 | 1 | 0 | 0 | 100823
278.0512 | -488196.019 | -11.0238 | na | 1.2314 | 0.033826 | na | -32589.3792 | 1 | 0 | 0 | 100823
278.5512 | -488201.2861 | -10.5342 | na | 1.2483 | 0.033826 | na | -31142.1359 | 1 | 0 | 0 | 100823
279.0563 | -488771.3994 | -1128.7137 | na | 1.2487 | 0.0007667 | na | -147217087.2287 | 1 | 0 | 0 | 100938
279.5563 | -490015.4416 | -2488.0844 | na | 1.2179 | -0.061502 | na | 4045506.1711 | 1 | 0 | 0 | 101213
280.0563 | -491200.1193 | -2369.3553 | na | 1.2825 | 0.12916 | na | -1834503.9831 | 1 | 0 | 0 | 101472
280.5563 | -492386.8845 | -2373.5303 | na | 1.22 | -0.12505 | na | 1897990.1657 | 1 | 0 | 0 | 101732
281.057 | -493569.2785 | -2361.4821 | na | 1.2527 | 0.065336 | na | -3614363.6486 | 1 | 0 | 0 | 101974
281.557 | -494752.2673 | -2365.9775 | na | 1.2219 | -0.061502 | na | 3846966.2038 | 1 | 0 | 0 | 102218
282.0573 | -495942.9339 | -2379.9053 | na | 1.2229 | 0.0019739 | na | -120570912.0175 | 1 | 0 | 0 | 102463
282.5573 | -497130.1142 | -2374.3606 | na | 1.2875 | 0.12916 | na | -1838379.4038 | 1 | 0 | 0 | 102713
283.0573 | -498314.8858 | -2369.5431 | na | 1.2727 | -0.029726 | na | 7971235.3294 | 1 | 0 | 0 | 102962
283.5575 | -499491.2886 | -2351.8648 | na | 1.2578 | -0.029764 | na | 7901632.851 | 1 | 0 | 0 | 103192
284.0576 | -500670.8399 | -2358.631 | na | 1.2747 | 0.033795 | na | -6979320.6978 | 1 | 0 | 0 | 103442
284.5576 | -501850.0295 | -2358.3791 | na | 1.2916 | 0.033826 | na | -6972020.9906 | 1 | 0 | 0 | 103683
285.0576 | -503266.379 | -2832.699 | na | 1.2767 | -0.029726 | na | 9529309.7069 | 1 | 0 | 0 | 103997
285.5576 | -503280.3203 | -27.8826 | na | 1.2777 | 0.0020501 | na | -1360075.5636 | 1 | 0 | 0 | 103997
286.0576 | -503285.8322 | -11.0238 | na | 1.2947 | 0.033826 | na | -32589.3792 | 1 | 0 | 0 | 103997
286.5576 | -503291.4053 | -11.1462 | na | 1.3433 | 0.097379 | na | -11446.2029 | 1 | 0 | 0 | 103997
287.0576 | -503296.7795 | -10.7484 | na | 1.2808 | -0.12505 | na | 8594.9595 | 1 | 0 | 0 | 103997
287.5576 | -504112.7702 | -1631.9814 | na | 1.3136 | 0.065603 | na | -2487678.4794 | 1 | 0 | 0 | 104155
288.0576 | -504944.4023 | -1663.2641 | na | 1.2829 | -0.061502 | na | 2704387.8963 | 1 | 0 | 0 | 104155
288.5576 | -505783.242 | -1677.6793 | na | 1.268 | -0.029726 | na | 5643778.29 | 1 | 0 | 0 | 104156
289.0576 | -506623.2342 | -1679.9845 | na | 1.2531 | -0.029726 | na | 5651533.1021 | 1 | 0 | 0 | 104156
289.5576 | -507460.985 | -1675.5017 | na | 1.3495 | 0.19271 | na | -869452.8184 | 1 | 0 | 0 | 104157
290.0576 | -508297.7391 | -1673.5081 | na | 1.3187 | -0.061502 | na | 2721044.0337 | 1 | 0 | 0 | 104158
290.5576 | -509135.4644 | -1675.4507 | na | 1.2562 | -0.12505 | na | 1339771.7882 | 1 | 0 | 0 | 104158
291.0576 | -509974.7794 | -1678.63 | na | 1.3367 | 0.16093 | na | -1043072.1411 | 1 | 0 | 0 | 104158
291.5576 | -510809.6012 | -1669.6436 | na | 1.29 | -0.093279 | na | 1789952.0312 | 1 | 0 | 0 | 104159
292.0576 | -511641.9504 | -1664.6983 | na | 1.3228 | 0.065603 | na | -2537549.7761 | 1 | 0 | 0 | 104160
292.5576 | -512476.7108 | -1669.5209 | na | 1.2921 | -0.061502 | na | 2714561.106 | 1 | 0 | 0 | 104163
293.0576 | -513315.9338 | -1678.446 | na | 1.2772 | -0.029726 | na | 5646357.7042 | 1 | 0 | 0 | 104164
293.5576 | -514338.4281 | -2044.9885 | na | 1.3259 | 0.097379 | na | -2100033.7418 | 1 | 0 | 0 | 104326
294.0576 | -514345.8523 | -14.8484 | na | 1.3111 | -0.029726 | na | 49950.5841 | 1 | 0 | 0 | 104326
294.5576 | -514351.0123 | -10.3201 | na | 1.328 | 0.033826 | na | -30508.9669 | 1 | 0 | 0 | 104326
295.0576 | -514356.1265 | -10.2283 | na | 1.3131 | -0.029726 | na | 34408.3134 | 1 | 0 | 0 | 104326
295.5576 | -514362.0208 | -11.7887 | na | 1.33 | 0.033826 | na | -34850.697 | 1 | 0 | 0 | 104326
296.0576 | -515201.9211 | -1679.8007 | na | 1.2993 | -0.061502 | na | 2731275.4801 | 1 | 0 | 0 | 104458
296.5576 | -515754.1873 | -1104.5324 | na | 1.3162 | 0.033826 | na | -3265303.208 | 1 | 0 | 0 | 104458
297.0576 | -516308.7426 | -1109.1106 | na | 1.3331 | 0.033826 | na | -3278837.5958 | 1 | 0 | 0 | 104458
297.5576 | -516860.3349 | -1103.1845 | na | 1.3818 | 0.097379 | na | -1132879.0604 | 1 | 0 | 0 | 104458
298.0576 | -517416.4915 | -1112.3133 | na | 1.3669 | -0.029726 | na | 3741865.2199 | 1 | 0 | 0 | 104458
298.5576 | -517968.8649 | -1104.7468 | na | 1.3203 | -0.093279 | na | 1184350.8302 | 1 | 0 | 0 | 104458
299.0576 | -518522.5556 | -1107.3813 | na | 1.3372 | 0.033826 | na | -3273725.4166 | 1 | 0 | 0 | 104458
299.5576 | -519079.3402 | -1113.5693 | na | 1.3223 | -0.029726 | na | 3746090.3768 | 1 | 0 | 0 | 104458
300.0576 | -519634.149 | -1109.6175 | na | 1.3869 | 0.12916 | na | -859135.7232 | 1 | 0 | 0 | 104458
300.5576 | -520187.8549 | -1107.4119 | na | 1.3244 | -0.12505 | na | 885540.3875 | 1 | 0 | 0 | 104458
301.0576 | -520743.6287 | -1111.5475 | na | 1.3572 | 0.065603 | na | -1694365.2849 | 1 | 0 | 0 | 104458
301.5576 | -521297.4725 | -1107.6876 | na | 1.3105 | -0.093279 | na | 1187503.5605 | 1 | 0 | 0 | 104458
302.0576 | -522048.7807 | -1502.6165 | na | 1.4069 | 0.19271 | na | -779739.1072 | 1 | 0 | 0 | 104590
302.5576 | -522054.2467 | -10.932 | na | 1.3603 | -0.093279 | na | 11719.7219 | 1 | 0 | 0 | 104590
303.0576 | -522059.1926 | -9.8917 | na | 1.3136 | -0.093279 | na | 10604.4698 | 1 | 0 | 0 | 104590
303.5576 | -522063.6642 | -8.9432 | na | 1.3464 | 0.065603 | na | -13632.4005 | 1 | 0 | 0 | 104590
304.0576 | -522074.913 | -22.4976 | na | 1.3951 | 0.097379 | na | -23103.1768 | 1 | 0 | 0 | 104590
304.5576 | -522841.4133 | -1533.0007 | na | 1.3485 | -0.093279 | na | 1643463.1176 | 1 | 0 | 0 | 104701
305.0576 | -523184.8503 | -686.8739 | na | 1.3336 | -0.029726 | na | 2310670.5975 | 1 | 0 | 0 | 104701
305.5576 | -523525.6375 | -681.5743 | na | 1.3982 | 0.12916 | na | -527717.7174 | 1 | 0 | 0 | 104701
306.0576 | -523867.2709 | -683.2669 | na | 1.3674 | -0.061502 | na | 1110959.2202 | 1 | 0 | 0 | 104701
306.5576 | -524207.1544 | -679.7669 | na | 1.4002 | 0.065603 | na | -1036189.209 | 1 | 0 | 0 | 104701
307.0576 | -524548.0334 | -681.7581 | na | 1.3854 | -0.029726 | na | 2293460.8119 | 1 | 0 | 0 | 104701
307.5576 | -524888.9478 | -681.8288 | na | 1.3864 | 0.0020501 | na | -33258630.531 | 1 | 0 | 0 | 104701
308.0576 | -525230.7612 | -683.6268 | na | 1.3398 | -0.093279 | na | 732886.4133 | 1 | 0 | 0 | 104701
308.5576 | -525571.6862 | -681.85 | na | 1.3567 | 0.033826 | na | -2015737.2461 | 1 | 0 | 0 | 104701
309.0576 | -525910.9025 | -678.4326 | na | 1.4054 | 0.097379 | na | -696694.0293 | 1 | 0 | 0 | 104701
309.5576 | -526251.3067 | -680.8085 | na | 1.3746 | -0.061502 | na | 1106961.9875 | 1 | 0 | 0 | 104701
310.0576 | -526610.4281 | -718.2427 | na | 1.328 | -0.093279 | na | 769996.6767 | 1 | 0 | 0 | 104701
310.5576 | -527183.5105 | -1146.1649 | na | 1.3767 | 0.097379 | na | -1177016.3661 | 1 | 0 | 0 | 104812
311.0576 | -527188.0586 | -9.0962 | na | 1.3618 | -0.029726 | na | 30599.9425 | 1 | 0 | 0 | 104812
311.5576 | -527192.2702 | -8.4231 | na | 1.3787 | 0.033826 | na | -24900.8989 | 1 | 0 | 0 | 104812
312.0576 | -527195.9003 | -7.2604 | na | 1.4115 | 0.065603 | na | -11067.2182 | 1 | 0 | 0 | 104812
312.5627 | -527472.5594 | -547.7312 | na | 1.3642 | -0.0936 | na | 585185.9128 | 1 | 0 | 0 | 104866
313.0627 | -527858.9101 | -772.7014 | na | 1.3811 | 0.033826 | na | -2284319.1242 | 1 | 0 | 0 | 104905
313.5627 | -528053.9388 | -390.0574 | na | 1.4457 | 0.12916 | na | -302006.9753 | 1 | 0 | 0 | 104905
314.0627 | -528248.6803 | -389.483 | na | 1.3991 | -0.093279 | na | 417547.6971 | 1 | 0 | 0 | 104905
314.5627 | -528445.9578 | -394.5551 | na | 1.4637 | 0.12916 | na | -305489.4046 | 1 | 0 | 0 | 104905
315.0627 | -528642.8743 | -393.8329 | na | 1.417 | -0.093279 | na | 422211.1108 | 1 | 0 | 0 | 104905
315.5627 | -528839.2034 | -392.6581 | na | 1.418 | 0.0020501 | na | -19153299.3657 | 1 | 0 | 0 | 104905
316.0627 | -529034.2168 | -390.0268 | na | 1.4191 | 0.0020501 | na | -19024946.9712 | 1 | 0 | 0 | 104905
316.5627 | -529230.6891 | -392.9446 | na | 1.4042 | -0.029726 | na | 1321880.822 | 1 | 0 | 0 | 104905
317.0627 | -529426.7121 | -392.0462 | na | 1.4052 | 0.0020501 | na | -19123449.9716 | 1 | 0 | 0 | 104905
317.5627 | -529624.311 | -395.1977 | na | 1.4221 | 0.033826 | na | -1168313.597 | 1 | 0 | 0 | 104905
318.0627 | -529821.2734 | -393.9248 | na | 1.3914 | -0.061502 | na | 640502.9443 | 1 | 0 | 0 | 104905
318.5678 | -530232.5585 | -814.2647 | na | 1.4077 | 0.032222 | na | -2527037.442 | 1 | 0 | 0 | 104948
319.0678 | -530499.8875 | -534.658 | na | 1.4405 | 0.065603 | na | -814995.3518 | 1 | 0 | 0 | 105000
319.5678 | -530503.8084 | -7.8417 | na | 1.4415 | 0.0020501 | na | -382507.908 | 1 | 0 | 0 | 105000
320.0678 | -530507.5457 | -7.4746 | na | 1.4902 | 0.097379 | na | -7675.7531 | 1 | 0 | 0 | 105000
320.5678 | -530511.2677 | -7.444 | na | 1.4118 | -0.15683 | na | 4746.4811 | 1 | 0 | 0 | 105000
321.0678 | -530949.6169 | -876.6986 | na | 1.4287 | 0.033826 | na | -2591763.4373 | 1 | 0 | 0 | 105077
321.5678 | -531063.4263 | -227.6188 | na | 1.4297 | 0.0020501 | na | -11102917.7864 | 1 | 0 | 0 | 105077
322.0678 | -531169.9843 | -213.1159 | na | 1.4466 | 0.033826 | na | -630029.5241 | 1 | 0 | 0 | 105077
322.5678 | -531275.9915 | -212.0144 | na | 1.4 | -0.093279 | na | 227291.3898 | 1 | 0 | 0 | 105077
323.0678 | -531381.145 | -210.3071 | na | 1.4804 | 0.16093 | na | -130681.2356 | 1 | 0 | 0 | 105077
323.5678 | -531486.8615 | -211.4331 | na | 1.4656 | -0.029726 | na | 711269.0561 | 1 | 0 | 0 | 105077
324.0678 | -531593.4807 | -213.2383 | na | 1.4031 | -0.12505 | na | 170515.6889 | 1 | 0 | 0 | 105077
324.5678 | -531699.1207 | -211.2801 | na | 1.4676 | 0.12916 | na | -163586.3328 | 1 | 0 | 0 | 105077
325.0678 | -531805.7705 | -213.2995 | na | 1.4528 | -0.029726 | na | 717547.7217 | 1 | 0 | 0 | 105077
325.5678 | -531913.6044 | -215.668 | na | 1.4856 | 0.065603 | na | -328749.1558 | 1 | 0 | 0 | 105077
326.0678 | -532018.0053 | -208.8017 | na | 1.4707 | -0.029726 | na | 702417.1668 | 1 | 0 | 0 | 105077
326.5678 | -532125.7871 | -215.5636 | na | 1.44 | -0.061502 | na | 350496.1574 | 1 | 0 | 0 | 105077
327.0678 | -532625.2995 | -999.0247 | na | 1.4569 | 0.033826 | na | -2953393.369 | 1 | 0 | 0 | 105156
327.5678 | -532636.8543 | -23.1095 | na | 1.4738 | 0.033826 | na | -68318.1994 | 1 | 0 | 0 | 105156
328.0678 | -532640.4691 | -7.2298 | na | 1.4907 | 0.033826 | na | -21373.2433 | 1 | 0 | 0 | 105156
328.5678 | -532643.5027 | -6.0671 | na | 1.5076 | 0.033826 | na | -17936.0403 | 1 | 0 | 0 | 105156
329.0678 | -532647.4083 | -7.8111 | na | 1.461 | -0.093279 | na | 8373.9657 | 1 | 0 | 0 | 105156
329.5678 | -533033.2228 | -771.629 | na | 1.5097 | 0.097379 | na | -792399.0685 | 1 | 0 | 0 | 105219
330.0678 | -533090.9176 | -115.3896 | na | 1.4948 | -0.029726 | na | 388175.0976 | 1 | 0 | 0 | 105219
330.5678 | -533149.2702 | -116.7053 | na | 1.5117 | 0.033826 | na | -345013.0371 | 1 | 0 | 0 | 105219
331.0678 | -533207.2557 | -115.9709 | na | 1.481 | -0.061502 | na | 188563.1946 | 1 | 0 | 0 | 105219
331.5678 | -533266.1743 | -117.8373 | na | 1.4979 | 0.033826 | na | -348359.7873 | 1 | 0 | 0 | 105219
332.0678 | -533325.093 | -117.8373 | na | 1.4989 | 0.0020501 | na | -5747936.4911 | 1 | 0 | 0 | 105219
332.5678 | -533383.6139 | -117.0418 | na | 1.4681 | -0.061502 | na | 190304.4093 | 1 | 0 | 0 | 105219
333.0678 | -533441.6453 | -116.0627 | na | 1.4851 | 0.033826 | na | -343113.5302 | 1 | 0 | 0 | 105219
333.5678 | -533499.7531 | -116.2157 | na | 1.4702 | -0.029726 | na | 390954.1791 | 1 | 0 | 0 | 105219
334.0678 | -533559.3239 | -119.1415 | na | 1.4871 | 0.033826 | na | -352215.2028 | 1 | 0 | 0 | 105219
334.5678 | -533617.8448 | -117.0418 | na | 1.4881 | 0.0020501 | na | -5709132.2789 | 1 | 0 | 0 | 105219
335.0678 | -533676.1821 | -116.6747 | na | 1.4892 | 0.0020501 | na | -5691222.6424 | 1 | 0 | 0 | 105219
335.5678 | -534073.3787 | -794.3931 | na | 1.522 | 0.065603 | na | -1210917.2879 | 1 | 0 | 0 | 105281
336.0678 | -534077.9727 | -9.188 | na | 1.4912 | -0.061502 | na | 14939.2192 | 1 | 0 | 0 | 105281
336.5678 | -534081.0674 | -6.1895 | na | 1.5081 | 0.033826 | na | -18297.8512 | 1 | 0 | 0 | 105281
337.0678 | -534083.795 | -5.4552 | na | 1.525 | 0.033826 | na | -16126.9861 | 1 | 0 | 0 | 105281
337.5678 | -534088.083 | -8.576 | na | 1.5261 | 0.0020501 | na | -418327.1809 | 1 | 0 | 0 | 105281
338.0678 | -534413.9897 | -651.8133 | na | 1.5271 | 0.0020501 | na | -31794517.7521 | 1 | 0 | 0 | 105328
338.5678 | -534449.1499 | -70.3205 | na | 1.5281 | 0.0020501 | na | -3430131.042 | 1 | 0 | 0 | 105328
339.0678 | -534484.0042 | -69.7085 | na | 1.5132 | -0.029726 | na | 234502.1826 | 1 | 0 | 0 | 105328
339.5678 | -534518.9043 | -69.8003 | na | 1.5143 | 0.0020501 | na | -3404759.0571 | 1 | 0 | 0 | 105328
340.0678 | -534553.7892 | -69.7697 | na | 1.4994 | -0.029726 | na | 234708.0405 | 1 | 0 | 0 | 105328
340.5678 | -534588.674 | -69.7697 | na | 1.4845 | -0.029726 | na | 234708.0405 | 1 | 0 | 0 | 105328
341.0678 | -534624.5992 | -71.8503 | na | 1.5173 | 0.065603 | na | -109523.579 | 1 | 0 | 0 | 105328
341.5678 | -534659.4688 | -69.7391 | na | 1.5343 | 0.033826 | na | -206168.1283 | 1 | 0 | 0 | 105328
342.0678 | -534694.9502 | -70.963 | na | 1.5353 | 0.0020501 | na | -3461472.9058 | 1 | 0 | 0 | 105328
342.5678 | -534729.3609 | -68.8212 | na | 1.5045 | -0.061502 | na | 111900.0009 | 1 | 0 | 0 | 105328
343.0678 | -534764.6588 | -70.5958 | na | 1.4579 | -0.093279 | na | 75682.7092 | 1 | 0 | 0 | 105328
343.5678 | -534799.5235 | -69.7295 | na | 1.5384 | 0.16093 | na | -43328.7251 | 1 | 0 | 0 | 105328
344.0678 | -535119.4332 | -639.8194 | na | 1.5553 | 0.033826 | na | -1891483.0078 | 1 | 0 | 0 | 105375
344.5678 | -535122.8645 | -6.8626 | na | 1.5086 | -0.093279 | na | 7357.1182 | 1 | 0 | 0 | 105375
345.0678 | -535125.7451 | -5.7611 | na | 1.5573 | 0.097379 | na | -5916.2099 | 1 | 0 | 0 | 105375
345.5678 | -535128.0443 | -4.5985 | na | 1.5583 | 0.0020501 | na | -224306.1194 | 1 | 0 | 0 | 105375
346.0678 | -535154.7598 | -53.431 | na | 1.5435 | -0.029726 | na | 179743.9838 | 1 | 0 | 0 | 105375
346.5678 | -535394.3215 | -479.1233 | na | 1.5127 | -0.061502 | na | 779031.5131 | 1 | 0 | 0 | 105398
347.0678 | -535418.6504 | -48.6579 | na | 1.5455 | 0.065603 | na | -74170.7029 | 1 | 0 | 0 | 105398
347.5678 | -535442.6734 | -48.046 | na | 1.5307 | -0.029726 | na | 161628.4895 | 1 | 0 | 0 | 105398
348.0678 | -535467.3848 | -49.4228 | na | 1.5635 | 0.065603 | na | -75336.6948 | 1 | 0 | 0 | 105398
348.5678 | -535491.2089 | -47.6482 | na | 1.5645 | 0.0020501 | na | -2324210.9919 | 1 | 0 | 0 | 105398
349.0678 | -535515.6449 | -48.8721 | na | 1.5655 | 0.0020501 | na | -2383909.78 | 1 | 0 | 0 | 105398
349.5678 | -535540.081 | -48.8721 | na | 1.5507 | -0.029726 | na | 164407.571 | 1 | 0 | 0 | 105398
350.0678 | -535564.1957 | -48.2295 | na | 1.5835 | 0.065603 | na | -73517.7474 | 1 | 0 | 0 | 105398
350.5678 | -535587.9587 | -47.5258 | na | 1.5209 | -0.12505 | na | 38003.9527 | 1 | 0 | 0 | 105398
351.0678 | -535611.7369 | -47.5564 | na | 1.5378 | 0.033826 | na | -140589.9141 | 1 | 0 | 0 | 105398
351.5678 | -535636.1882 | -48.9027 | na | 1.523 | -0.029726 | na | 164510.5 | 1 | 0 | 0 | 105398
352.0678 | -535662.6283 | -52.8803 | na | 1.6035 | 0.16093 | na | -32858.8957 | 1 | 0 | 0 | 105398
352.5678 | -535915.4697 | -505.6828 | na | 1.525 | -0.15683 | na | 322437.6791 | 1 | 0 | 0 | 105425
353.0678 | -535918.2738 | -5.6082 | na | 1.5578 | 0.065603 | na | -8548.6756 | 1 | 0 | 0 | 105425
353.5678 | -535922.1794 | -7.8111 | na | 1.543 | -0.029726 | na | 26276.9268 | 1 | 0 | 0 | 105425
354.0678 | -535926.0391 | -7.7193 | na | 1.5758 | 0.065603 | na | -11766.8134 | 1 | 0 | 0 | 105425
354.5678 | -535925.4316 | 1.2149 | na | 1.545 | -0.061502 | na | -1975.4375 | 1 | 0 | 0 | 105425
355.0678 | -535924.7476 | 1.3679 | na | 1.5937 | 0.097379 | na | 1404.7468 | 1 | 0 | 0 | 105425
355.5678 | -535924.079 | 1.3373 | na | 1.6106 | 0.033826 | na | 3953.5153 | 1 | 0 | 0 | 105425
356.0678 | -535923.3797 | 1.3985 | na | 1.5481 | -0.12505 | na | -1118.3269 | 1 | 0 | 0 | 105425
356.5678 | -535922.6957 | 1.3679 | na | 1.5809 | 0.065603 | na | 2085.171 | 1 | 0 | 0 | 105425
357.0678 | -535921.9965 | 1.3985 | na | 1.6137 | 0.065603 | na | 2131.8107 | 1 | 0 | 0 | 105425
357.5678 | -535921.2819 | 1.4291 | na | 1.5988 | -0.029726 | na | -4807.6146 | 1 | 0 | 0 | 105425
358.0678 | -535920.5215 | 1.5209 | na | 1.5681 | -0.061502 | na | -2472.9274 | 1 | 0 | 0 | 105425
358.5678 | -535919.8375 | 1.3679 | na | 1.6009 | 0.065603 | na | 2085.171 | 1 | 0 | 0 | 105425
359.0678 | -535919.0464 | 1.5821 | na | 1.5542 | -0.093279 | na | -1696.1046 | 1 | 0 | 0 | 105425
359.5678 | -535918.2095 | 1.6739 | na | 1.6347 | 0.16093 | na | 1040.1296 | 1 | 0 | 0 | 105425